{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":20,"n_cols":5,"rows_kept":20,"cut":false,"hidden":false,"merged":[]}
[""]
["Pirkimas: Laparoskopiniai instrumentų rinkiniai (I ketv. pirkimas)"]
["TECHNINĖ SPECIFIKACIJA"]
[]
["Nr.","Pavadinimas","Kiekis",null,"Siūlomo parametro atitikimas, konkreti parametro reikšmė ir atitikimo patvirtinimas (puslapis pasiūlyme, puslapyje pažymint siūlomą parametrą)"]
[]
["3.","Laparoskopiniai instrumentai"]
["3.1.","HOPKINS II optika arba lygiavertė",2,"vnt","HOPKINS II tipo optika, Karl Storz, 26003BA, psl. 19."]
["3.1.1.","Matymo kryptis 30°",null,null,"Matymo kryptis 30°"]
["3.1.2.","Skersmuo 10 mm",null,null,"Skersmuo 10 mm"]
["3.1.3.","Ilgis 310 ± 10 mm",null,null,"Ilgis 310 mm"]
["3.1.4.","Autoklavuojama",null,null,"Autoklavuojama"]
["3.2.","HOPKINS II optika arba lygiavertė",2,"vnt","HOPKINS II optika, Karl Storz, 26105BA, psl. 20."]
["3.2.1.","Tiesi 30°",null,null,"Tiesi 30°"]
["3.2.2.","Skersmuo 4 mm",null,null,"Skersmuo 4 mm"]
["3.2.3.","Ilgis 310 ± 10 mm",null,null,"Ilgis 300 mm"]
["3.2.4.","Autoklavuojama",null,null,"Autoklavuojama"]
["3.3.","Rezektoskopo darbinis elementas",2,"vnt","Rezektoskopo darbinis elementas, Karl Storz, 26050D, psl. 21."]
["3.3.1.","Ramybės būsenoje elektrodas išlindęs iš movos",null,null,"Ramybės būsenoje elektrodas išlindęs iš movos"]
["3.3.2.","Tinkantis Karl Storz rezektoskopui",null,null,"Tinkantis Karl Storz rezektoskopui"]