## Lapas1
TECHNINĖ SPECIFIKACIJA IR PASIŪLYMO FORMA
| PIRKIMO PAVADINIMAS: | Reagentų ir smulkios laboratorinės įrangos bei priemonių pirkimas
| PIRKIMO DALIS (neskirstoma) | 34
| TIEKĖJO PAVADINIMAS: | UAB "GRIDA"
| BENDRIEJI REIKALAVIMAI: | Būtina siūlyti visas prekes ir pateikti kiekvienos prekės įkainį. Jeigu tiekėjas prie kurios nors prekės neįrašo kainos, laikoma, kad jis ją siūlo už 0,00 Eur. Jeigu tiekėjas dėl kitokių priežasčių išbraukia iš sąrašo prekės pavadinimą - tiekėjo pasiūlymas tai daliai atmetamas
SUBTIEKĖJAS
Prekės kodas kataloge/ Product Code by Catalog | Reikalaujami techniniai/parametraiProduct Descripton | Pakuotė/Package | Kiekis/ Quantity | Kaina kiekiui (4 stulpelis), Eur be PVM/ Price for Quantity (column 4) without VAT | Gamintojo pavadinimas/ Manufacturer (Producer) | Gamintojo suteiktas prekės kodas /Manufacturer's (Producer's) product Code | Nuoroda į išsamų prekės aprašymą arba gamintojo svetainę /Link to detailed product specification or manufacturer's website
02-081-0000 | Test tube PS, round bottom, 2ml, Ø11x42 mm, transparent, max. RCF 3.000g | 1500 | 1 | 48.72 | Nerbe | 02-081-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-111-0001 | Test tube PS, round bottom, 4ml, Ø12x55 mm, transparent, max. RCF 3.000g | 1000 | 1 | 24.51 | Nerbe | 02-111-0001 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-112-0001 | Test tube PP, round bottom, 4ml, Ø12x55 mm, transparent, max. RCF 3.000g, autoclavable up to 121°C | 1000 | 1 | 21.49 | Nerbe | 02-112-0001 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-132-0002 | Test tube PP, round bottom, 4,5ml, Ø12x75mm, transparent, max. RCF 3.000g, autocl. up to 121°C | 1000 | 1 | 21.49 | Nerbe | 02-132-0002 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-161-0001 | Test tube PS, round bottom, 5ml, Ø13x75 mm, transparent, max. RCF 3.000g | 1000 | 1 | 20.54 | Nerbe | 02-161-0001 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-162-0001 | Test tube PP, round bottom, 5ml, Ø13x75 mm, transparent, max. RCF 3.000g, autoclavable up to 121°C | 1000 | 1 | 26.38 | Nerbe | 02-162-0001 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-171-0000 | Test tube PS, round bottom, 8ml, Ø13x100 mm, transparent, max. RCF 3.000g | 400 | 1 | 16.6 | Nerbe | 02-171-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-172-0001 | Test tube PP, round bottom, 8ml, Ø13x100 mm, transparent, max. RCF 3.000g, autoclavable up to 121°C | 500 | 1 | 33.17 | Nerbe | 02-172-0001 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-201-0000 | Test tube PS, round bottom, 9ml, Ø16x65 mm, transparent, max. RCF 3.000g | 200 | 1 | 7.47 | Nerbe | 02-201-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-202-0000 | Test tube PP, round bottom, 9ml, Ø16x65 mm, transparent, max. RCF 3.000g, autoclavable up to 121°C | 200 | 1 | 10.33 | Nerbe | 02-202-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-211-0001 | Test tube PS, round bottom, 11ml, Ø16x95 mm, transparent, moulded rings, max. RCF 3.000g | 500 | 1 | 25.58 | Nerbe | 02-211-0001 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-212-0001 | Test tube PP, round bottom, 11ml, Ø16x95 mm, transparent, moulded rings, max. RCF 3.000g, autocl. up to 121°C | 500 | 1 | 31.19 | Nerbe | 02-212-0001 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-222-0000 | Test tube PP, round bottom, 12ml, Ø16x100 mm, transparent, max. RCF 3.000g, autoclavable up to 121°C | 200 | 1 | 8.87 | Nerbe | 02-222-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-251-0000 | Test tube PS, round bottom, 20ml, Ø16x150 mm, transparent, max. RCF 3.000g | 1000 | 1 | 115.1 | Nerbe | 02-251-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-252-0000 | Test tube PP, round bottom, 20ml, Ø16x150 mm, transparent, max. RCF 3.000g, autocl. up to 121°C | 850 | 1 | 86.45 | Nerbe | 02-252-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-322-1056 | Test tube PP with enclosed screw cap PE, 5ml, Ø16x54 mm, flat bottom, tube transparent, cap white, max. RCF 3.000g, Autocl. up to 121°C (no | 500 | 1 | 73.51 | Nerbe | 02-322-1056 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-351-6052 | Test tube PS with fitted screw cap PE, 12ml, Ø16x100 mm, round bottom, tube transparent, cap red, sterile R, max. RCF 3.000g | 200 | 1 | 49.7 | Nerbe | 02-351-6052 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-352-1000 | Test tube PP with enclosed screw cap PE, 12ml, Ø16x100 mm, round bottom, tube transparent, cap natural, grad., sterile, max. RCF 5.400g, | 1000 | 1 | 113.97 | Nerbe | 02-352-1000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-352-6000 | Test tube PP with fitted screw cap PE, 12ml, Ø16x100 mm, round bottom, tube transparent, cap natural, grad., sterile R, max. RCF 4.000g, | 100 | 1 | 22.18 | Nerbe | 02-352-6000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-381-8107 | Test tube PS with fitted screw cap PE, 19ml, Ø16x150 mm, round bottom, tube transparent, cap red, sterile R | 100 | 1 | 43.58 | Nerbe | 02-381-8107 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-411-0001 | Test tube PS, conical bottom, 4,5ml, Ø12x75mm, transparent, max. RCF 5.400g | 1000 | 1 | 435.72 | Nerbe | 02-411-0001 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-412-0001 | Test tube PP, conical bottom, 4,5ml, Ø12x75mm, transparent, max. RCF 5.500g, autocl. up to 121°C | 1000 | 1 | 41.15 | Nerbe | 02-412-0001 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-421-0000 | Test tube PS, conical bottom, 12ml, Ø16x105 mm, transparent, max. RCF 3.000g | 1000 | 1 | 52.66 | Nerbe | 02-421-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-502-3001 | Centrifuge tube PP with screw cap PE, 15ml, Ø17x120 mm, conical bottom, tube transparent, cap green, graduated, with writing area, np pcr | 25 | 1 | 3.4 | Nerbe | 02-502-3001 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-502-8001 | Centrifuge tube PP with screw cap PE, 15ml, Ø17x120 mm, conical bottom, tube transparent, cap green, graduated, with writing area, np pcr | 25 | 1 | 3.58 | Nerbe | 02-502-8001 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-502-8001 | Centrifuge tube PP with screw cap PE, 15ml, Ø17x120 mm, conical bottom, tube transparent, cap green, graduated, with writing area, np pcr | 25 | 1 | 3.58 | Nerbe | 02-502-8001 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-531-2006 | Universal container PS 30ml, 22 x 90 mm, with fitted white PE screw cap, 3000 g | 100 | 1 | 27.28 | Nerbe | 02-531-2006 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-531-2007 | Test tube PS with fitted screw cap PE, 25ml, Ø25x90 mm, conical bottom, skirted, tube transparent, cap white, sterile, max. RCF 4.000g | 100 | 1 | 25.45 | Nerbe | 02-531-2007 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-531-6007 | Test tube PS with fitted screw cap PE, 25ml, Ø25x90 mm, conical bottom, skirted, tube transparent, cap white, sterile R, max. RCF | 100 | 1 | 34.07 | Nerbe | 02-531-6007 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-552-1000 | Test tube PP with enclosed screw cap PE, 30ml, Ø25x107 mm, conical bottom, skirted, tube transparent, cap natural, graduated, max. RCF | 500 | 1 | 156.62 | Nerbe | 02-552-1000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-552-2000 | Conical test tube PP 30ml, 25x107mm, graduated with rim and fitted natural PE screw cap | 100 | 1 | 41.39 | Nerbe | 02-552-2000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-552-6000 | Test tube PP with fitted screw cap PE, 30ml, Ø25x107 mm, conical bottom, skirted, tube transparent, cap natural, grad., sterile R, max. | 100 | 1 | 33.15 | Nerbe | 02-552-6000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-572-3001 | Centrifuge tube PP with screw cap PE, 50ml, Ø30x115 mm, conical bottom, tube transparent, cap green, graduated, with writing area, np pcr | 25 | 1 | 3.81 | Nerbe | 02-572-3001 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-572-4001 | Centrifuge tube PP with screw cap PE, 50ml, Ø30x115 mm, conical, skirted, tube transparent, cap green, graduated, with writing area, np pcr | 25 | 1 | 4.18 | Nerbe | 02-572-4001 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-572-8001 | Centrifuge tube PP with screw cap PE, 50ml, Ø30x115 mm, conical bottom, tube transparent, capgreen, graduated, with writing area, np pcr | 25 | 1 | 3.97 | Nerbe | 02-572-8001 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-572-9001 | Centrifuge tube PP with screw cap PE, 50ml, Ø30x115 mm, conical, skirted, tube transparent, cap green, graduated, with writing area, np pcr | 25 | 1 | 6.52 | Nerbe | 02-572-9001 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-623-0000 | Pressure plug PE, Ø11 mm, natural | 1000 | 1 | 24.55 | Nerbe | 02-623-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-633-0000 | Ribbed plug PE, with high grip, with 2 sealing ribs, Ø 12 mm, natural | 1000 | 1 | 14.83 | Nerbe | 02-633-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-643-0000 | Ribbed plug PE, with high grip, with 2 sealing ribs, Ø13 mm, natural | 2500 | 1 | 42.48 | Nerbe | 02-643-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-673-0000 | Ribbed plug PE, with high grip, with 2 sealing ribs, Ø16 mm, natural | 1000 | 1 | 18.61 | Nerbe | 02-673-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
02-801-2000 | Cell counter vial PS, dust-free capped, 15ml, Ø22x45 mm, suitable for Labora, Contraves Hellige, Brand, tube transparent, cap natural | 500 | 1 | 80.4 | Nerbe | 02-801-2000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-010-0100 | PCR microcentrifuge tube PP, 0,2ml, attached flat & frosted cap, premium surface, transparent, np pcr ready, max. RCF 14.000g, autocl., CE/IVD | 500 | 1 | 44.23 | Nerbe | 04-010-0100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-012-0000 | PCR microcentrifuge tube PP, 0,2ml, without cap, transparent, np pcr ready, max. RCF 14.000g, autoclavable up to 121°C, CE/IVD | 500 | 1 | 31.67 | Nerbe | 04-012-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-012-1130 | PCR microcentrifuge tube PP, 0,2ml, attached flat & clear cap, transparent, np pcr ready, max. RCF 20.000g, autocl. up to 121°C, CE/IVD | 1000 | 1 | 44.6 | Nerbe | 04-012-1130 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-012-1140 | PCR microcentrifuge tube PP, 0,2ml, attached flat & frosted cap, transparent, np pcr ready, max. RCF 20.000g, autocl. up to 121°C, CE/IVD | 1000 | 1 | 44.6 | Nerbe | 04-012-1140 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-012-1142 | PCR microcentrifuge tube PP, 0,2ml, attached flat & frosted cap, red, np pcr ready, max. RCF 20.000g, autocl. up to 121°C, CE/IVD | 1000 | 1 | 49.37 | Nerbe | 04-012-1142 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-012-1145 | PCR microcentrifuge tube PP, 0,2ml, attached flat & frosted cap, blue, np pcr ready, max. RCF 20.000g, autocl. up to 121°C, CE/IVD | 1000 | 1 | 49.37 | Nerbe | 04-012-1145 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-012-1149 | PCR microcentrifuge tube PP, 0,2ml, attached flat & frosted cap, green, red, yellow, blue, lilac, np pcr ready, max. RCF 20.000g, autocl. up to | 1000 | 1 | 49.37 | Nerbe | 04-012-1149 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-022-1500 | PCR microcentrifuge tube PP, 0,2ml, attached domed cap, transparent, np pcr ready, max. RCF 20.000g, autocl., CE/IVD | 1000 | 1 | 48.27 | Nerbe | 04-022-1500 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-032-0300 | PCR microcentrifuge tube PP, 0,2ml, 8-strips, individually attached flat & transparent caps, breakable strip, highly transparent, np pcr ready | 120 | 1 | 85.74 | Nerbe | 04-032-0300 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-032-0350 | PCR microcentrifuge tube PP, 0,1ml, 8-strips, individually attached flat & transparent caps, low profile, highly transparent, np pcr ready, | 120 | 1 | 85.74 | Nerbe | 04-032-0350 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-032-0400 | PCR microcentrifuge tube PP, 0,2ml, 8-strips, individually attached flat & transparent caps, 3-linkages, highly transparent, np pcr ready, | 120 | 1 | 85.74 | Nerbe | 04-032-0400 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-032-0500 | PCR microcentrifuge tube PP, 0,2ml, without cap, 8-strips, transparent, np pcr ready, max. RCF 20.000g, autocl. up to 121°C, CE/IVD | 125 | 1 | 68.23 | Nerbe | 04-032-0500 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-032-0510 | PCR microcentrifuge tube PP, 0,2ml, enclosed 8-capstrip flat & transparent, transparent, np pcr ready, max. RCF 6.000g, autocl. up to 121°C, | 120 | 1 | 66.5 | Nerbe | 04-032-0510 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-032-0516 | PCR microcentrifuge tube PP, 0,2ml, white, encl.8-capstrip flat & transparent, np pcr ready,max. RCF 6.000g, autocl. up to 121°C, CE/IVD | 120 | 1 | 71.82 | Nerbe | 04-032-0516 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-032-0550 | PCR microcentrifuge tube PP, 0,1ml, without cap, low profile, 8-strips, transparent, np pcr readymax. RCF 20.000g, autocl. up to 121°C, CE/IVD | 125 | 1 | 68.23 | Nerbe | 04-032-0550 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-032-0560 | PCR microcentrifuge tube PP, 0,1ml, low profile, enclosed 8-capstrip flat & transparent, transparent, np pcr ready, max. RCF 6.000g, | 120 | 1 | 66.5 | Nerbe | 04-032-0560 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-032-0566 | PCR microcentrifuge tube PP, 0,1ml, low profile, enclosed 8-capstrip flat & transparent, tubes white, capstrip transparent, np pcr ready, max. | 120 | 1 | 71.82 | Nerbe | 04-032-0566 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-032-0600 | PCR microcentrifuge tube PP, 0,2ml, 8-strips, individually attached flat & frosted caps, transparent, np pcr ready, max. RCF 6.000g, | 12 | 1 | 7.27 | Nerbe | 04-032-0600 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-032-0800 | PCR microcentrifuge tube PP, 0,2ml, 8-strips, with attached stripe of 8 domed caps, transparentnp pcr ready, max. RCF 6.000g, autocl. up to 121°C | 125 | 1 | 75.73 | Nerbe | 04-032-0800 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-032-0900 | PCR microcentrifuge tube PP, 0,2ml, 8-strips, with attached stripe of 8 flat caps, highly transparent, np pcr ready, max. RCF 6.000g, | 125 | 1 | 84.95 | Nerbe | 04-032-0900 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-032-1100 | PCR microcentrifuge tube PP, 0,1ml, enclosed cap, 4-strips, for Corbett and Rotor-Gene, transparentnp pcr ready, max. RCF 6.000g, autocl. up to 121°C | 1000 | 1 | 167.63 | Nerbe | 04-032-1100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-033-0500 | PCR microcentrifuge tube PP, 0,2ml, without cap, 12-strips, transparent, np pcr ready, max. RCF 20.000g, autocl. up to 121°C, CE/IVD | 80 | 1 | 68.51 | Nerbe | 04-033-0500 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-042-0500 | Cap for PCR microcentrifuge tubes 0,1 ml & 0,2 ml PP, domed, 8-strips, transparent, np pcr ready, max. RCF 20.000g, autocl. up to 121°C, CE/IVD | 125 | 1 | 18.04 | Nerbe | 04-042-0500 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-043-0500 | Cap for PCR microcentrifuge tubes 0,1 ml & 0,2 ml PP, flat, 8-strips, highly transparent, np pcr ready, max. RCF 20.000g, autocl. up to 121°C, | 125 | 1 | 28.38 | Nerbe | 04-043-0500 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-043-0600 | Cap for PCR microcentrifuge tubes 0,1 ml & 0,2 ml PP, flat, 12-strips, highly transparent, np pcr ready, max. RCF 20.000g, autocl. up to 121°C, | 80 | 1 | 21.83 | Nerbe | 04-043-0600 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-044-0500 | Cap for PCR microcentrifuge tubes 0,1 ml & 0,2 ml PP, domed, 12-strips, transparent, np pcr ready, max. RCF 20.000g, autocl. up to 121°C, CE/IVD | 80 | 1 | 21.83 | Nerbe | 04-044-0500 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-072-0380 | Reservoir PP, 160ml, high profile, 8 channels, transparent, np pcr ready | 5 | 1 | 47.49 | Nerbe | 04-072-0380 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-072-0390 | Reservoir PP, 180ml, high profile, 12 channels, transparent, np pcr ready | 5 | 1 | 48.94 | Nerbe | 04-072-0390 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-072-0430 | Reservoir PS, 25ml, high profile, 1 bottom, universal purpose, white, grad., np pcr ready, sterile R | 5 | 1 | 2.26 | Nerbe | 04-072-0430 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-072-0440 | Reservoir PS, 50ml, high profile, 1 bottom, universal purpose, white, grad., np pcr ready, sterile R | 5 | 1 | 2.3 | Nerbe | 04-072-0440 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-072-0450 | Reservoir PS, 100ml, high profile, 1 bottom, universal purpose, white, grad., np pcr ready, sterile R | 5 | 1 | 2.68 | Nerbe | 04-072-0450 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-072-0460 | Reservoir PP, 84ml, low profile, 8 channels, transparent, np pcr ready | 5 | 1 | 46.84 | Nerbe | 04-072-0460 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-072-0470 | Reservoir PP, 120ml, low profile, 12 channels, transparent, np pcr ready | 5 | 1 | 46.84 | Nerbe | 04-072-0470 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-072-0480 | Reservoir PP, 140ml, low profile, 96 bottom, transparent, np pcr ready | 5 | 1 | 46.84 | Nerbe | 04-072-0480 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-072-0490 | Reservoir PP, 140ml, low profile, 384 bottom, transparent, np pcr ready | 5 | 1 | 46.84 | Nerbe | 04-072-0490 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-072-0500 | Deep well plate PP, 96x1,1ml, round wells, U-shapetransparent, np pcr ready, max. RCF 4.000g, autocl. up to 121°C, CE/IVD | 5 | 1 | 18.98 | Nerbe | 04-072-0500 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-072-0505 | Deep well plate PP, premium surface, 96x1,1ml, round wells, U-shape, transparent, np pcr ready, max. RCF 4.000g, autocl. up to 121°C, CE/IVD | 5 | 1 | 21.3 | Nerbe | 04-072-0505 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-072-0510 | Deep well plate PP, 96x500µl, round wells, V-shapetransparent, np pcr ready, max. RCF 4.000g, autocl. up to 121°C, CE/IVD | 5 | 1 | 18.98 | Nerbe | 04-072-0510 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-072-0520 | Deep well plate PP, 96x2,0ml, round wells, U-shapetransparent, np pcr ready, max. RCF 4.000g, autocl. up to 121°C, CE/IVD | 5 | 1 | 18.98 | Nerbe | 04-072-0520 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-072-0525 | Deep well plate PP, premium surface, 96x2,0ml, round wells, U-shape, transparent, np pcr ready, max. RCF 4.000g, autocl. up to 121°C, CE/IVD | 5 | 1 | 21.3 | Nerbe | 04-072-0525 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-072-0560 | Deep well plate PP, 96x2,0ml, square wells, V-shape, transparent, np pcr ready, max. RCF 4.000g, autocl. up to 121°C, CE/IVD | 5 | 1 | 18.98 | Nerbe | 04-072-0560 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-072-0565 | Deep well plate PP, premium surface, 96x2,0ml, square wells, V-shape, transparent, np pcr ready, max. RCF 4.000g, autocl. up to 121°C, CE/IVD | 5 | 1 | 21.3 | Nerbe | 04-072-0565 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-082-0070 | PCR-plate PP, 96x0,2ml, elevated wells, non-skirted, highly transparent, np pcr ready, max. RCF 6.000g, autocl. up to 121°C, CE/IVD | 10 | 1 | 29.19 | Nerbe | 04-082-0070 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-082-0350 | PCR-plate PP, 96x0,2ml, non-skirted, flat, cuttable, highly transparent, np pcr ready, max. RCF 6.000g, autocl. up to 121°C, CE/IVD | 10 | 1 | 28.85 | Nerbe | 04-082-0350 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-082-0540 | PCR-plate PP, 384x40µl, full-skirted, transparentnp pcr ready, max. RCF 6.000g, autocl. up to 121°CCE/IVD | 10 | 1 | 42.96 | Nerbe | 04-082-0540 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-082-0550 | PCR-plate PP, 96x0,1ml, non-skirted, low profile, flat, highly transparent, np pcr ready, max. RCF 6.000g, autocl. up to 121°C, CE/IVD | 20 | 1 | 57.7 | Nerbe | 04-082-0550 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-082-0640 | PCR-plate PP, 384x55µl, full-skirted, transparentnp pcr ready, max. RCF 6.000g, autocl. up to 121°CCE/IVD | 10 | 1 | 42.96 | Nerbe | 04-082-0640 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-082-0650 | PCR-plate PP, 96x0,1ml, half-skirted, low profile, raised rim, highly transparent, np pcr ready, max. RCF 6.000g, autocl. up to 121°C, | 10 | 1 | 28.85 | Nerbe | 04-082-0650 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-082-9050 | PCR-plate PP, 96x0,2ml, full-skirted, low profilehighly transparent, np pcr ready, max. RCF 6.000gautocl. up to 121°C, CE/IVD | 10 | 1 | 28.85 | Nerbe | 04-082-9050 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-082-9056 | PCR-plate PP, 96x0,2ml, full-skirted, low profile,white, np pcr ready, max. RCF 6.000g, autocl. up to 121°C, CE/IVD | 10 | 1 | 28.85 | Nerbe | 04-082-9056 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-083-0096 | PCR-plate PP, 96x0,2ml, half-skirted, low profilewhite, np pcr ready, max. RCF 6.000g, autocl. up to 121°C, CE/IVD | 10 | 1 | 36.6 | Nerbe | 04-083-0096 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-083-0150 | PCR-plate PP, 96x0,2ml, half-skirted, natural, np pcr ready, max. RCF 6.000g, autocl. up to 121°C, CE/IVD | 10 | 1 | 28.85 | Nerbe | 04-083-0150 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-083-0384 | PCR-plate PP, 384x40µl, full-skirted, white, np pcr ready, max. RCF 6.000g, autocl. up to 121°C, CE/IVD | 10 | 1 | 45.75 | Nerbe | 04-083-0384 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-083-0640 | PCR-plate PP, 96x0,2ml, half-skirted, raised rim, notch at A 12, transparent, np pcr ready, max. RCF 6.000g, autocl. up to 121°C, CE/IVD | 10 | 1 | 28.85 | Nerbe | 04-083-0640 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-083-0650 | PCR-plate PP, 96x0,2ml, half-skirted, transparentnp pcr ready, max. RCF 6.000g, autocl. up to 121°CCE/IVD | 10 | 1 | 28.85 | Nerbe | 04-083-0650 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-084-0096 | PCR-plate PP, 96x0,1ml, half-skirted, low profilewhite, np pcr ready, max. RCF 3.000g, autocl. up to 121°C, CE/IVD | 10 | 1 | 36.6 | Nerbe | 04-084-0096 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-090-0000 | Silicone sealing mat, for 96 well PCR-plates, round wells, natural, np pcr ready, autocl. up to 121°C | 10 | 1 | 45.35 | Nerbe | 04-090-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-093-0150 | Silicone sealing mat, for 0,6 ml 96 deep well plates, round wells, natural, np pcr ready, autocl. up to 121°C | 10 | 1 | 80.63 | Nerbe | 04-093-0150 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-093-0296 | Silicone sealing mat, for 1,1 and 2 ml deep well plates, round wells, natural, np pcr ready, autocl. up to 121°C | 10 | 1 | 54.92 | Nerbe | 04-093-0296 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-093-0596 | Silicone sealing mat, for 2ml 96 deep well plates, square wells, natural, np pcr ready, autocl. up to 121°C | 10 | 1 | 54.92 | Nerbe | 04-093-0596 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-093-0696 | Silicone sealing mat, for 0,75 ml 96 deep well plates, round wells, natural, np pcr ready, autocl. up to 121°C | 10 | 1 | 54.92 | Nerbe | 04-093-0696 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-093-3100 | Special silicone septa 96 mat, round and pre-slit wells, black, np pcr ready, autocl. up to 121°C | 10 | 1 | 148.63 | Nerbe | 04-093-3100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-095-0010 | Adhesive sealing film, for Elisa / EIA, 50µm, -40°C up to +120°C, PE, pierceable, clear, np pcr ready | 100 | 1 | 58.46 | Nerbe | 04-095-0010 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-095-0060 | Adhesive sealing film, for Realtime-PCR (qPCR), 50µm, -40°C up to +120°C, clear, np pcr ready | 100 | 1 | 135.45 | Nerbe | 04-095-0060 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-095-0070 | Adhesive sealing film, for plates with raised rim, 50µm, qPCR, -40°C up to +120°C, clear, np pcr ready | 100 | 1 | 119.2 | Nerbe | 04-095-0070 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-095-0100 | Adhesive sealing film, 96 adhesive free zones, 70µm, -40°C up to +90°C, pierceable, clear, np pcr ready | 50 | 1 | 150.23 | Nerbe | 04-095-0100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-096-6000 | Adhesive sealing film, for cold-storage, 60µm, -80°C up to +120°C, aluminium, pierceable, np pcr ready, sterile R | 100 | 1 | 97.66 | Nerbe | 04-096-6000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-097-0100 | Adhesive sealing film, for PCR, ELISA and EIA, 60 µm, -40°C up to +120°C, PE, clear, np pcr ready | 100 | 1 | 68.46 | Nerbe | 04-097-0100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-097-5060 | Adhesive sealing film, permeable (tissue culture), 140µm, -20°C up to +80°C, Viscose, natural, np pcr ready, sterile R | 50 | 1 | 82.47 | Nerbe | 04-097-5060 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-102-1150 | PCR microcentrifuge tube PP, 0,5ml, attached flat & frosted cap, transparent, np pcr ready, max. RCF 14.000g, autocl. up to 121°C, CE/IVD | 1000 | 1 | 43.87 | Nerbe | 04-102-1150 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-212-0000 | Microcentrifuge tube PP, 1,5ml, without cap, transparent, grad., writing area, max. RCF 18.000gautocl. up to 121°C, CE/IVD | 1000 | 1 | 15.24 | Nerbe | 04-212-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-212-1000 | Microcentrifuge tube PP, 1,5ml, attached cap, transparent, graduated, with writing area, max. RCF 18.000g, autoclavable, CE/IVD | 1000 | 1 | 11.21 | Nerbe | 04-212-1000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-212-1001 | Microcentrifuge tube PP, 1,5ml, attached cap, green, graduated, with writing area, max. RCF 18.000g, autoclavable up to 121°C, CE/IVD | 1000 | 1 | 21.59 | Nerbe | 04-212-1001 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-212-1002 | Microcentrifuge tube PP, 1,5ml, attached cap, redgraduated, with writing area, max. RCF 18.000g, autoclavable up to 121°C, CE/IVD | 1000 | 1 | 21.59 | Nerbe | 04-212-1002 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-212-1005 | Microcentrifuge tube PP, 1,5ml, attached cap, bluegraduated, with writing area, max. RCF 18.000g, autoclavable up to 121°C, CE/IVD | 1000 | 1 | 21.59 | Nerbe | 04-212-1005 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-212-1200 | np Safelock-Cap microcentrifuge tube PP, 1,5ml, attached cap, boil-proof, transparent, grad., writing area, np pcr ready, max. RCF 30.000g, | 500 | 1 | 9.89 | Nerbe | 04-212-1200 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-212-1201 | np Safelock-Cap microcentrifuge tube PP, 1,5ml, attached cap, boil-proof, green, grad., writing area, np pcr ready, max. RCF 30.000g, autocl. up | 1000 | 1 | 26.01 | Nerbe | 04-212-1201 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-212-1202 | np Safelock-Cap microcentrifuge tube PP, 1,5ml, attached cap, boil-proof, red, grad., writing areanp pcr ready, max. RCF 30.000g, autocl. up to | 1000 | 1 | 21.72 | Nerbe | 04-212-1202 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-212-1203 | np Safelock-Cap microcentrifuge tube PP, 1,5ml, attached cap, boil-proof, yellow, grad., writing area, np pcr ready, max. RCF 30.000g, autocl. up | 1000 | 1 | 26.01 | Nerbe | 04-212-1203 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-212-1205 | np Safelock-Cap microcentrifuge tube PP, 1,5ml, attached cap, boil-proof, blue, grad., writing area, np pcr ready, max. RCF 30.000g, autocl. up | 1000 | 1 | 26.01 | Nerbe | 04-212-1205 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-212-1206 | np Safelock-Cap microcentrifuge tube PP, 1,5ml, attached cap, boil-proof, amber, grad., writing area, np pcr ready, max. RCF 30.000g, autocl. up | 1000 | 1 | 21.72 | Nerbe | 04-212-1206 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-212-3000 | Microcentrifuge tube PP, 1,5ml, attached cap, heat-resistant, transparent, graduated, with writing area, np pcr ready, max. RCF 20.000g, | 200 | 1 | 7.86 | Nerbe | 04-212-3000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-212-3500 | Microcentrifuge tube PP, premium surface, 1,5ml, attached cap, heat-resistant, transparent, grad., writing area, np pcr ready, max. RCF 20.000g, | 200 | 1 | 8.38 | Nerbe | 04-212-3500 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-212-6500 | Microcentrifuge tube PP, premium surface, 1,5ml, attached cap, heat-resistant, transparent, grad., writing area, np premium bio, sterile R, max. | 200 | 1 | 12.64 | Nerbe | 04-212-6500 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-212-9200 | np Safelock-Cap microcentrifuge tube PP, 1,5ml, attached cap, boil-proof, transparent, grad., writing area, np pcr ready, max. RCF 30.000g, | 500 | 1 | 24.18 | Nerbe | 04-212-9200 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-232-1200 | np Safelock-Cap microcentrifuge tube PP, 2ml, attached cap, boil-proof, transparent, grad., writing area, np pcr ready, max. RCF 30.000g, | 500 | 1 | 10.46 | Nerbe | 04-232-1200 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-232-1201 | np Safelock-Cap microcentrifuge tube PP, 2ml, attached cap, boil-proof, green, grad., writing area, np pcr ready, max. RCF 30.000g, autocl. up | 1000 | 1 | 32.67 | Nerbe | 04-232-1201 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-232-1202 | np Safelock-Cap microcentrifuge tube PP, 2ml, attached cap, boil-proof, red, grad., writing area, np pcr ready, max. RCF 30.000g, autocl. up to | 1000 | 1 | 32.67 | Nerbe | 04-232-1202 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-232-1203 | np Safelock-Cap microcentrifuge tube PP, 2ml, attached cap, boil-proof, yellow, grad., writing area, np pcr ready, max. RCF 30.000g, autocl. up | 1000 | 1 | 32.67 | Nerbe | 04-232-1203 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-232-1205 | np Safelock-Cap microcentrifuge tube PP, 2ml, attached cap, boil-proof, blue, grad., writing area, np pcr ready, max. RCF 30.000g, autocl. up | 1000 | 1 | 32.67 | Nerbe | 04-232-1205 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-232-1206 | np Safelock-Cap microcentrifuge tube PP, 2ml, attached cap, boil-proof, amber, grad., writing area, np pcr ready, max. RCF 30.000g, autocl. up | 1000 | 1 | 32.67 | Nerbe | 04-232-1206 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-232-3000 | Microcentrifuge tube PP, 2ml, attached cap, heat-resistant, transparent, grad., writ. area, np pcr ready, max. RCF 20.000g, autocl. up to | 200 | 1 | 8.38 | Nerbe | 04-232-3000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-232-3100 | Microcentrifuge tube PP, 2ml, attached cap, transparent, graduated, with writing area, np pcr ready, max. RCF 18.000g, autoclavable up to 121°C | 200 | 1 | 4.99 | Nerbe | 04-232-3100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-232-3500 | Microcentrifuge tube PP, premium surface, 2ml, attached cap, heat-resistant, transparent, grad., writing area, np pcr ready, max. RCF 20.000g, | 200 | 1 | 4.99 | Nerbe | 04-232-3500 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-232-6500 | Microcentrifuge tube PP, premium surface, 2ml, attached cap, heat-resistant, transparent, grad., writing area, np premium bio, sterile R, max. | 200 | 1 | 12.64 | Nerbe | 04-232-6500 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-232-9200 | np Safelock-Cap microcentrifuge tube PP, 2ml, attached cap, boil-proof, transparent, grad., writing area, np pcr ready, max. RCF 30.000g, | 500 | 1 | 23.53 | Nerbe | 04-232-9200 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-252-1000 | Microcentrifuge tube PP, 5ml, attached cap, transparent, graduated, with writing area, np pcr ready, max. RCF 25.000g, autoclavable up to 121°C | 200 | 1 | 25.31 | Nerbe | 04-252-1000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-252-9000 | Microcentrifuge tube PP, 5ml, attached cap, transparent, graduated, with writing area, np pcr ready, sterile R, max. RCF 25.000g, autoclavable | 200 | 1 | 36.22 | Nerbe | 04-252-9000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-332-1200 | np Safelock-Cap microcentrifuge tube PP, 0,5ml, attached cap, boil-proof, transparent, grad., writing area, np pcr ready, max. RCF 30.000g, | 500 | 1 | 7.82 | Nerbe | 04-332-1200 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-332-1201 | np Safelock-Cap microcentrifuge tube PP, 0,5ml, attached cap, boil-proof, green, grad., writing area, np pcr ready, max. RCF 30.000g, autocl. up | 1000 | 1 | 32.67 | Nerbe | 04-332-1201 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-332-1202 | np Safelock-Cap microcentrifuge tube PP, 0,5ml, attached cap, boil-proof, red, grad., writing area, np pcr ready, max. RCF 30.000g, autocl. up to | 1000 | 1 | 32.67 | Nerbe | 04-332-1202 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-332-1203 | np Safelock-Cap microcentrifuge tube PP, 0,5ml, attached cap, boil-proof, yellow, grad., writing area, np pcr ready, max. RCF 30.000g, autocl. up | 1000 | 1 | 32.67 | Nerbe | 04-332-1203 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-332-1205 | np Safelock-Cap microcentrifuge tube PP, 0,5ml, attached cap, boil-proof, blue, grad., writing area, np pcr ready, max. RCF 30.000g, autocl. up | 1000 | 1 | 32.67 | Nerbe | 04-332-1205 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-332-1206 | np Safelock-Cap microcentrifuge tube PP, 0,5ml, attached cap, boil-proof, amber, grad., writing area, np pcr ready, max. RCF 30.000g, autocl. up | 1000 | 1 | 32.67 | Nerbe | 04-332-1206 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-332-3000 | Microcentrifuge tube PP, 0,5ml, attached cap, heat-resistant, transparent, graduated, with writing area, np pcr ready, max. RCF 20.000g, | 200 | 1 | 7.86 | Nerbe | 04-332-3000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-332-3500 | Microcentrifuge tube PP, premium surface, 0,5ml, attached cap, heat-resistant, transparent, grad., writing area, np pcr ready, max. RCF 20.000g, | 200 | 1 | 7 | Nerbe | 04-332-3500 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-332-6500 | Microcentrifuge tube PP, premium surface, 0,5ml, attached cap, heat-resistant, transparent, grad., writing area, np premium bio, sterile R, max. | 200 | 1 | 9.59 | Nerbe | 04-332-6500 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
04-332-9200 | np Safelock-Cap microcentrifuge tube PP, 0,5ml, attached cap, boil-proof, transparent, grad., writing area, np pcr ready, max. RCF 30.000g, | 500 | 1 | 19.64 | Nerbe | 04-332-9200 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
05-003-0800 | Cap PE for analyzer cup, Ø16x8,5 mm, without cross slit, natural | 1000 | 1 | 22.94 | Nerbe | 05-003-0800 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
05-061-0000 | Analyzer cup PS, 1,5ml, Ø13,8x22,6 mm, for autoanalyzer from Technikon, Gemsaec, Kone and Astra, transparent, CE/IVD | 1000 | 1 | 15.63 | Nerbe | 05-061-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
05-181-0000 | Analyzer cup PS, 3ml, Ø16,75x38 mm, for Hitachi and Boehringer (705, 706, 712,7150, 7250), transparent | 1000 | 1 | 21.03 | Nerbe | 05-181-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
05-723-1000 | Scintillation bottle HDPE, enclosed screw cap PE, 20ml, for radioactivity counter, Ø27x58 mm, tube transparent, cap white | 1000 | 1 | 95.15 | Nerbe | 05-723-1000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-011-0251 | Semi-micro cuvette PS, 1,5ml, for photometer, cavity sorted, application 340-800 nm, optical translucency | 1000 | 1 | 78.41 | Nerbe | 06-011-0251 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-021-0251 | Macro cuvette PS, 4ml, for photometer, cavity sorted, application 340-800 nm | 1000 | 1 | 76.2 | Nerbe | 06-021-0251 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-360-2008 | Pipette tips PP, premium surface, 0,1-10µl, shorttransparent, moulded rings, np premium bio, sterile R, autocl. up to 121°C, CE/IVD | 1000 | 1 | 14.22 | Nerbe | 06-360-2008 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-360-2018 | Pipette tips PP, premium surface, 0,1-10µl, shorttransparent, moulded rings, np premium bio, sterile R, autocl. up to 121°C, CE/IVD | 960 | 1 | 37.02 | Nerbe | 06-360-2018 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-361-2008 | Pipette tips PP, premium surface, 0,1-20µl, extra long, transparent, moulded rings, np premium bio, sterile R, autocl. up to 121°C, CE/IVD | 1000 | 1 | 14.81 | Nerbe | 06-361-2008 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-361-2018 | Pipette tips PP, premium surface, 0,1-20µl, extra long, transparent, moulded rings, np premium bio, sterile R, autocl. up to 121°C, CE/IVD | 960 | 1 | 37.02 | Nerbe | 06-361-2018 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-362-2008 | Pipette tips PP, premium surface, 0,1-20µl, super slim, transparent, moulded rings, np premium bio, sterile R, autocl. up to 121°C, CE/IVD | 1000 | 1 | 14.22 | Nerbe | 06-362-2008 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-362-2018 | Pipette tips PP, premium surface, 0,1-20µl, super slim, transparent, moulded rings, np premium bio, sterile R, autocl. up to 121°C, CE/IVD | 960 | 1 | 37.02 | Nerbe | 06-362-2018 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-365-2008 | Pipette tips PP, premium surface, 0-200µl, transparent, moulded rings, np premium bio, sterile R, autocl. up to 121°C, CE/IVD | 1000 | 1 | 14.81 | Nerbe | 06-365-2008 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-365-2018 | Pipette tips PP, premium surface, 0-200µl, 96 pcs/rack, transparent, moulded rings, np premium bio, sterile R, autocl. up to 121°C, CE/IVD | 960 | 1 | 37.02 | Nerbe | 06-365-2018 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-367-2008 | Pipette tips PP, premium surface, 0-300µl, transparent, moulded rings, np premium bio, sterile R, autocl. up to 121°C, CE/IVD | 1000 | 1 | 14.81 | Nerbe | 06-367-2008 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-367-2018 | Pipette tips PP, premium surface, 0-300µl, 96 pcs/rack, transparent, moulded rings, np premium bio, sterile R, autocl. up to 121°C, CE/IVD | 960 | 1 | 32.37 | Nerbe | 06-367-2018 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-368-2008 | Pipette tips PP, premium surface, 100-1.000µl, transparent, moulded rings, np premium bio, sterile R, autocl. up to 121°C, CE/IVD | 500 | 1 | 18.48 | Nerbe | 06-368-2008 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-368-2018 | Pipette tips PP, premium surface, 100-1.000µl, 96 pcs/rack, transparent, moulded rings, np premium bio, sterile R, autocl. up to 121°C, CE/IVD | 576 | 1 | 26.7 | Nerbe | 06-368-2018 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-369-2008 | Pipette tips PP, premium surface, 100-1.250µl, transparent, moulded rings, np premium bio, sterile R, autocl. up to 121°C, CE/IVD | 500 | 1 | 12.87 | Nerbe | 06-369-2008 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-369-2018 | Pipette tips PP, premium surface, 100-1.250µl, 96 pcs/rack, transparent, moulded rings, np premium bio, sterile R, autocl. up to 121°C, CE/IVD | 576 | 1 | 30.61 | Nerbe | 06-369-2018 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-372-2018 | Pipette tips PP, premium surface, refill system, 0,1-20µl, super slim, 96 pcs/tray, transparent tips, translucent gray tray, grad., np premium | 960 | 1 | 39.88 | Nerbe | 06-372-2018 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-375-2018 | Pipette tips PP, premium surface, refill system, 0-200µl, 96 pcs/tray, transparent tips, translucent yellow tray, grad., np premium bio, | 960 | 1 | 39.88 | Nerbe | 06-375-2018 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-377-2018 | Pipette tips PP, premium surface, refill system, 0-300µl, extra long, 96 pcs/tray, transparent tips, translucent yellow tray, grad., np premium | 960 | 1 | 39.88 | Nerbe | 06-377-2018 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-379-2018 | Pipette tips PP, premium surface, refill system, 100-1.250µl, 96 pcs/tray, transparent tips, green tray, grad., np premium bio, sterile R, autocl. | 480 | 1 | 23.58 | Nerbe | 06-379-2018 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-602-0000 | Filter tip PP, premium surface, 0,1-10µl, short, transparent, moulded rings, np premium bio, sterile R, CE/IVD | 1000 | 1 | 55.12 | Nerbe | 06-602-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-602-5300 | Filter tip PP, premium surface, 0,1-10µl, short, transparent, moulded rings, np premium bio, sterile R, CE/IVD | 960 | 1 | 57.01 | Nerbe | 06-602-5300 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-612-0000 | Filter tip PP, premium surface, 0,1-10µl, extra long, transparent, moulded rings, np premium bio, sterile R, CE/IVD | 1000 | 1 | 55.12 | Nerbe | 06-612-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-612-5300 | Filter tip PP, premium surface, 0,1-10µl, extra long, 96 pcs/rack, transparent, moulded rings, np premium bio, sterile R, CE/IVD | 960 | 1 | 57.01 | Nerbe | 06-612-5300 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-613-0000 | Filter tip PP, premium surface, 0,1-10µl, super slim, transparent, moulded rings, np premium bio, sterile R, CE/IVD | 1000 | 1 | 55.12 | Nerbe | 06-613-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-613-5300 | Filter tip PP, premium surface, 0,1-10µl, super slim, transparent, moulded rings, np premium bio, sterile R, CE/IVD | 960 | 1 | 57.01 | Nerbe | 06-613-5300 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-622-0000 | Filter tip PP, premium surface, 0-20µl, transparent, moulded rings, np premium bio, sterile R, CE/IVD | 1000 | 1 | 55.12 | Nerbe | 06-622-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-622-5300 | Filter tip PP, premium surface, 0-20µl, 96 pcs/rack, transparent, moulded rings, np premium bio, sterile R, CE/IVD | 960 | 1 | 57.01 | Nerbe | 06-622-5300 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-632-0000 | Filter tip PP, premium surface, 0-50µl, transparent, moulded rings, np premium bio, sterile R, CE/IVD | 1000 | 1 | 55.12 | Nerbe | 06-632-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-632-5300 | Filter tip PP, premium surface, 0-50µl, 96 pcs/rack, natural, moulded rings, np premium bio, sterile R, CE/IVD | 960 | 1 | 57.01 | Nerbe | 06-632-5300 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-642-0000 | Filter tip PP, premium surface, 0-100µl, transparent, moulded rings, np premium bio, sterile R, CE/IVD | 1000 | 1 | 55.12 | Nerbe | 06-642-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-642-5300 | Filter tip PP, premium surface, 0-100µl, 96 pcs/rack, transparent, moulded rings, np premium bio, sterile R, CE/IVD | 960 | 1 | 57.01 | Nerbe | 06-642-5300 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-662-0000 | Filter tip PP, premium surface, 0-200µl, transparent, moulded rings, np premium bio, sterile R, CE/IVD | 1000 | 1 | 55.12 | Nerbe | 06-662-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-662-5300 | Filter tip PP, premium surface, 0-200µl, 96 pcs/rack, transparent, moulded rings, np premium bio, sterile R, CE/IVD | 960 | 1 | 57.01 | Nerbe | 06-662-5300 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-672-0000 | Filter tip PP, premium surface, 0-300µl, transparent, moulded rings, np premium bio, sterile R, CE/IVD | 1000 | 1 | 55.12 | Nerbe | 06-672-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-672-5300 | Filter tip PP, premium surface, 0-300µl, 96 pcs/rack, natural, moulded rings, np premium bio, sterile R, CE/IVD | 960 | 1 | 57.01 | Nerbe | 06-672-5300 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-693-0000 | Filter tip PP, premium surface, 100-1.000µl, transparent, moulded rings, np premium bio, sterile R, CE/IVD | 500 | 1 | 29.71 | Nerbe | 06-693-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-693-5300 | Filter tip PP, premium surface, 100-1.000µl, 96 pcs/rack, transparent, moulded rings, np premium bio, sterile R, CE/IVD | 576 | 1 | 36.88 | Nerbe | 06-693-5300 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-695-0000 | Filter tip PP, premium surface, 100-1.250µl, transparent, moulded rings, np premium bio, sterile R, CE/IVD | 500 | 1 | 29.71 | Nerbe | 06-695-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
06-695-5300 | Filter tip PP, premium surface, 100-1.250µl, 96 pcs/rack, transparent, moulded rings, np premium bio, sterile R, CE/IVD | 576 | 1 | 36.88 | Nerbe | 06-695-5300 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-012-0100 | Dispenser-tips PP/PE, 0,5ml, graduated, np pcr ready, CE/IVD | 4800 | 1 | 2867.35 | Nerbe | 07-012-0100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-012-8100 | Dispenser-tips PP/PE, 0,5ml, single peel-pack, graduated, np pcr ready, sterile R, CE/IVD | 1200 | 1 | 1222.96 | Nerbe | 07-012-8100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-022-0100 | Dispenser-tips PP/PE, 1,25ml, graduated, np pcr ready, CE/IVD | 4800 | 1 | 2925.85 | Nerbe | 07-022-0100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-022-8100 | Dispenser-tips PP/PE, 1,25ml, single peel-pack, graduated, np pcr ready, sterile R, CE/IVD | 1200 | 1 | 1222.96 | Nerbe | 07-022-8100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-032-0100 | Dispenser-tips PP/PE, 2,5ml, graduated, np pcr ready, CE/IVD | 3000 | 1 | 1818.87 | Nerbe | 07-032-0100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-032-8100 | Dispenser-tips PP/PE, 2,5ml, single peel-pack, graduated, np pcr ready, sterile R, CE/IVD | 1200 | 1 | 1222.96 | Nerbe | 07-032-8100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-042-0100 | Dispenser-tips PP/PE, 5ml, graduated, np pcr readyCE/IVD | 3000 | 1 | 1828.66 | Nerbe | 07-042-0100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-042-8100 | Dispenser-tips PP/PE, 5ml, single peel-pack, graduated, np pcr ready, sterile R, CE/IVD | 1200 | 1 | 1222.96 | Nerbe | 07-042-8100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-052-0100 | Dispenser-tips PP/PE, 12,5ml, graduated, np pcr ready, CE/IVD | 1600 | 1 | 1003.58 | Nerbe | 07-052-0100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-052-8100 | Dispenser-tips PP/PE, 12,5ml, single peel-pack, graduated, np pcr ready, sterile R, CE/IVD | 1200 | 1 | 1222.96 | Nerbe | 07-052-8100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-062-0100 | Dispenser-tips PP/PE, 25ml, graduated, np pcr ready, CE/IVD | 800 | 1 | 654.9 | Nerbe | 07-062-0100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-062-8100 | Dispenser-tips PP/PE, 25ml, single peel-pack, graduated, np pcr ready, sterile R, CE/IVD | 300 | 1 | 415.81 | Nerbe | 07-062-8100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-072-0100 | Dispenser-tips PP/PE, 50ml, graduated, np pcr ready, CE/IVD | 400 | 1 | 350.38 | Nerbe | 07-072-0100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-072-8100 | Dispenser-tips PP/PE, 50ml, single peel-pack, graduated, np pcr ready, sterile R, CE/IVD | 300 | 1 | 427.7 | Nerbe | 07-072-8100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-082-8000 | Adapter PP, suitable for dispenser-tips 25 and 50 ml, autocl. | 1 | 1 | 4.56 | Nerbe | 07-082-8000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-112-0000 | Pipette tip PP "classic", 0,1-20µl, universal fittransparent, np pcr ready, CE/IVD | 1000 | 1 | 12.28 | Nerbe | 07-112-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-122-0073 | Pipette tip PP "classic", 1-200µl, universal fit, yellow, np pcr ready, autoclavable up to 121°C, CE/IVD | 1000 | 1 | 7 | Nerbe | 07-122-0073 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-122-0073 | Pipette tip PP "classic", 1-200µl, universal fit, yellow, np pcr ready, autoclavable up to 121°C, CE/IVD | 1000 | 1 | 7 | Nerbe | 07-122-0073 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-132-0095 | Pipette tip PP "classic", 100-1.000µl, universal fit (Eppendorf, Biohit, Socorex), blue, np pcr ready, sterile, autocl. up to 121°C, CE/IVD | 1000 | 1 | 8.5 | Nerbe | 07-132-0095 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-142-0000 | Pipette tip PP "classic", 500-2.500µl, transparentnp pcr ready, CE/IVD | 250 | 1 | 19.19 | Nerbe | 07-142-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-360-2005 | Pipette tips PP, premium surface, 0,1-10µl, shorttransparent, moulded rings, np pcr ready, autocl. up to 121°C, CE/IVD | 1000 | 1 | 16.63 | Nerbe | 07-360-2005 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-360-2015 | Pipette tips PP, premium surface, 0,1-10µl, shorttransparent, moulded rings, np pcr ready, autocl. up to 121°C, CE/IVD | 960 | 1 | 43.35 | Nerbe | 07-360-2015 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-361-2005 | Pipette tips PP, premium surface, 0,1-20µl, extra long, transparent, moulded rings, np pcr ready, autocl. up to 121°C, CE/IVD | 1000 | 1 | 17.34 | Nerbe | 07-361-2005 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-361-2015 | Pipette tips PP, premium surface, 0,1-20µl, extra long, transparent, moulded rings, np pcr ready, autocl. up to 121°C, CE/IVD | 960 | 1 | 43.35 | Nerbe | 07-361-2015 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-362-2005 | Pipette tips PP, premium surface, 0,1-20µl, super slim, transparent, moulded rings, np pcr ready, autocl. up to 121°C, CE/IVD | 1000 | 1 | 16.63 | Nerbe | 07-362-2005 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-362-2015 | Pipette tips PP, premium surface, 0,1-20µl, super slim, transparent, moulded rings, np pcr ready, autocl. up to 121°C, CE/IVD | 960 | 1 | 43.35 | Nerbe | 07-362-2015 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-365-2005 | Pipette tips PP, premium surface, 0-200µl, transparent, moulded rings, np pcr ready, autoclavable up to 121°C, CE/IVD | 1000 | 1 | 17.34 | Nerbe | 07-365-2005 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-365-2015 | Pipette tips PP, premium surface, 0-200µl, 96 pcs/rack, transparent, moulded rings, np pcr ready, autoclavable up to 121°C, CE/IVD | 960 | 1 | 43.35 | Nerbe | 07-365-2015 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-366-2005 | Pipette tips PP, premium surface, 0,5-200µl, extra long, transparent, moulded rings, np pcr ready, autoclavable up to 121°C, CE/IVD | 1000 | 1 | 17.34 | Nerbe | 07-366-2005 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-366-2015 | Pipette tips PP, premium surface, 0,5-200µl, extra long, 96 pcs/rack, transparent, moulded rings, np pcr ready, autoclavable up to 121°C, | 960 | 1 | 37.81 | Nerbe | 07-366-2015 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-367-2005 | Pipette tips PP, premium surface, 0-300µl, transparent, moulded rings, np pcr ready, autoclavable up to 121°C, CE/IVD | 1000 | 1 | 17.34 | Nerbe | 07-367-2005 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-367-2015 | Pipette tips PP, premium surface, 0-300µl, 96 pcs/rack, transparent, moulded rings, np pcr ready, autoclavable up to 121°C, CE/IVD | 960 | 1 | 37.88 | Nerbe | 07-367-2015 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-368-2005 | Pipette tips PP, premium surface, 100-1.000µl, transparent, moulded rings, np pcr ready, autoclavable up to 121°C, CE/IVD | 1000 | 1 | 40.37 | Nerbe | 07-368-2005 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-368-2015 | Pipette tips PP, premium surface, 100-1.000µl, 96 pcs/rack, transparent, moulded rings, np pcr ready, autoclavable up to 121°C, CE/IVD | 768 | 1 | 38.87 | Nerbe | 07-368-2015 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-369-2005 | Pipette tips PP, premium surface, 100-1.250µl, transparent, moulded rings, np pcr ready, autoclavable up to 121°C, CE/IVD | 1000 | 1 | 25.43 | Nerbe | 07-369-2005 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-369-2015 | Pipette tips PP, premium surface, 100-1.250µl, 96 pcs/rack, transparent, moulded rings, np pcr ready, autoclavable up to 121°C, CE/IVD | 768 | 1 | 44.57 | Nerbe | 07-369-2015 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-372-0010 | Starter kit refill system, 0,1-20µl, content: 10 racks with 96 pcs (960 pcs) 07-362-2015 and 30 trays with 96 pcs (2.880 pcs) 07-372-2015, np | 3840 | 1 | 138.03 | Nerbe | 07-372-0010 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-372-2015 | Pipette tips PP, premium surface, refill system, 0,1-20µl, super slim, 96 pcs/tray, transparent tips, translucent gray tray, grad., np pcr ready | 960 | 1 | 43.56 | Nerbe | 07-372-2015 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-375-2015 | Pipette tips PP, premium surface, refill system, 0-200µl, 96 pcs/tray, transparent tips, translucent yellow tray, graduated, np pcr ready | 960 | 1 | 43.56 | Nerbe | 07-375-2015 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-376-0200 | Starter kit refill system, 0-200µl, content: 10 racks with 96 pcs (960 pcs) 07-366-2015 and 20 trays with 96 pcs (1.920 pcs) 07-376-2015, np | 2880 | 1 | 109.44 | Nerbe | 07-376-0200 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-376-2015 | Pipette tips PP, premium surface, refill system, 0-200µl, extra long, 96 pcs/tray, transparent tips, translucent yellow tray, grad., np pcr | 960 | 1 | 43.56 | Nerbe | 07-376-2015 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-379-1250 | Starter kit refill system, 100-1.250µl, content: 8 Racks with 96 pcs (768 pcs) 07-369-2015 and 24 trays with 96 pcs (2.304 pcs) 07-379-2015 , np | 3072 | 1 | 147.58 | Nerbe | 07-379-1250 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-379-2015 | Pipette tips PP, premium surface, refill system, 100-1.250µl, 96 pcs/tray, transparent tips, green tray, graduated, np pcr ready, autoclavable up | 768 | 1 | 41.19 | Nerbe | 07-379-2015 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-602-0000 | Filter tip PP, premium surface, 0,1-10µl, short, transparent, moulded rings, np pcr ready, CE/IVD | 1000 | 1 | 53.63 | Nerbe | 07-602-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-602-8300 | Filter tip PP, premium surface, 0,1-10µl, short, transparent, moulded rings, np pcr ready, CE/IVD | 960 | 1 | 66.71 | Nerbe | 07-602-8300 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-602-8300 | Filter tip PP, premium surface, 0,1-10µl, short, transparent, moulded rings, np pcr ready, CE/IVD | 960 | 1 | 66.71 | Nerbe | 07-602-8300 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-612-0000 | Filter tip PP, premium surface, 0,1-10µl, extra long, transparent, moulded rings, np pcr ready, CE/IVD | 1000 | 1 | 69.49 | Nerbe | 07-612-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-612-8300 | Filter tip PP, premium surface, 0,1-10µl, extra long, 96 pcs/rack, transparent, moulded rings, np pcr ready, CE/IVD | 960 | 1 | 65 | Nerbe | 07-612-8300 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-613-0000 | Filter tip PP, premium surface, 0,1-10µl, super slim, transparent, moulded rings, np pcr ready, CE/IVD | 1000 | 1 | 69.49 | Nerbe | 07-613-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-613-8300 | Filter tip PP, premium surface, 0,1-10µl, super slim, transparent, moulded rings, np pcr ready, CE/IVD | 960 | 1 | 65 | Nerbe | 07-613-8300 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-622-0000 | Filter tip PP, premium surface, 0-20µl, transparent, moulded rings, np pcr ready, CE/IVD | 1000 | 1 | 69.49 | Nerbe | 07-622-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-622-8300 | Filter tip PP, premium surface, 0-20µl, 96 pcs/rack, transparent, moulded rings, np pcr ready, CE/IVD | 960 | 1 | 65 | Nerbe | 07-622-8300 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-642-0000 | Filter tip PP, premium surface, 0-100µl, transparent, moulded rings, np pcr ready, CE/IVD | 1000 | 1 | 69.49 | Nerbe | 07-642-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-642-8300 | Filter tip PP, premium surface, 0-100µl, 96 pcs/rack, transparent, moulded rings, np pcr ready, CE/IVD | 960 | 1 | 65 | Nerbe | 07-642-8300 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-662-0000 | Filter tip PP, premium surface, 0-200µl, transparent, moulded rings, np pcr ready, CE/IVD | 1000 | 1 | 64.51 | Nerbe | 07-662-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-662-8300 | Filter tip PP, premium surface, 0-200µl, 96 pcs/rack, transparent, moulded rings, np pcr ready, CE/IVD | 960 | 1 | 65 | Nerbe | 07-662-8300 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-672-8300 | Filter tip PP, premium surface, 0-300µl, 96 pcs/rack, natural, moulded rings, np pcr ready, CE/IVD | 960 | 1 | 65 | Nerbe | 07-672-8300 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-693-0000 | Filter tip PP, premium surface, 100-1.000µl, transparent, moulded rings, np pcr ready, CE/IVD | 1000 | 1 | 64.51 | Nerbe | 07-693-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-693-8300 | Filter tip PP, premium surface, 100-1.000µl, 96 pcs/rack, transparent, moulded rings, np pcr ready, CE/IVD | 768 | 1 | 50 | Nerbe | 07-693-8300 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-695-0000 | Filter tip PP, premium surface, 100-1.250µl, transparent, moulded rings, np pcr ready, CE/IVD | 1000 | 1 | 69.49 | Nerbe | 07-695-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-695-8300 | Filter tip PP, premium surface, 100-1.250µl, 96 pcs/rack, transparent, moulded rings, np pcr ready, CE/IVD | 768 | 1 | 50 | Nerbe | 07-695-8300 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-862-0080 | Pipette tip PP "classic", 1-200µl, big orifice, transparent, np pcr ready, CE/IVD | 1000 | 1 | 42.78 | Nerbe | 07-862-0080 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-895-0100 | Pipette tip PP "classic", 5.000µl, universal fit, transparent, np pcr ready, autocl. up to 121°C, CE/IVD | 250 | 1 | 23.97 | Nerbe | 07-895-0100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-895-0200 | Pipette tip PP "classic", 5.000µl, universal fit (Eppendorf, Biohit, Socorex), transparent, grad.np pcr ready, autocl. up to 121°C, CE/IVD | 250 | 1 | 23.97 | Nerbe | 07-895-0200 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-895-0300 | Pipette tip PP "classic", 5.000µl, universal fit (Gilson, Labnet, CAPP), transparent, np pcr readyautocl. up to 121°C, CE/IVD | 250 | 1 | 23.97 | Nerbe | 07-895-0300 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-895-0400 | Pipette tip PP "classic", 10.000µl, universal fit (Gilson, Labnet, CAPP), transparent, grad., np pcr ready, autocl. up to 121°C, CE/IVD | 100 | 1 | 20.49 | Nerbe | 07-895-0400 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-895-0500 | Pipette tip PP "classic", 10.000µl, universal fit (Gilson, Eppendorf, Labnet), transparent, grad., np pcr ready, autocl. up to 121°C, CE/IVD | 100 | 1 | 20.49 | Nerbe | 07-895-0500 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-902-0300 | Gel-loading pipette tip PP, universal fit, 0,1-10µl, round tip, 200 pcs/rack, transparent, np pcr ready, CE/IVD | 200 | 1 | 59.13 | Nerbe | 07-902-0300 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
07-962-0301 | Gel-loading pipette tip PP, universal fit, 200µl, round tip, 96 pcs/rack, np pcr ready, CE/IVD | 960 | 1 | 129.5 | Nerbe | 07-962-0301 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
08-002-6004 | Universal specimen container with spoon PP, 12ml, Ø16x100 mm, with fitted screw cap PE, container transparent, cap brown, graduated, sterile R, | 100 | 1 | 25.38 | Nerbe | 08-002-6004 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
08-022-2004 | Universal specimen container with spoon PP, 15ml, Ø20x76 mm, with fitted screw cap PE, skirted, container transparent, cap brown, graduated, max. | 250 | 1 | 59.78 | Nerbe | 08-022-2004 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
08-022-6004 | Universal specimen container with spoon PP, 15ml, Ø20x76 mm, with fitted screw cap PE, skirted, container transparent, cap brown, graduated, | 100 | 1 | 28.94 | Nerbe | 08-022-6004 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
08-122-2004 | Universal specimen container with spoon PP, 30ml, Ø25x107 mm, with fitted screw cap PE, skirted, container transparent, cap brown, graduated, max. | 100 | 1 | 26.25 | Nerbe | 08-122-2004 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
08-122-6004 | Universal specimen container with spoon PP, 30ml, Ø25x107 mm, with fitted screw cap PE, skirted, container transparent, cap brown, graduated, | 100 | 1 | 33.79 | Nerbe | 08-122-6004 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
08-221-2005 | Universal specimen container with spoon PS, 20ml, Ø22x62 mm, with fitted pressure plug PE, container transparent, plug blue, CE/IVD | 250 | 1 | 42.59 | Nerbe | 08-221-2005 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
08-222-1000 | Universal specimen container PP, 15ml, Ø20x76mm, with enclosed screw cap PE, skirted, tube transparent, cap natural, graduated, max. RCF | 1000 | 1 | 104.21 | Nerbe | 08-222-1000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
08-222-2000 | Universal specimen container PP, 15ml, Ø20x76mm, with fitted screw cap PE, skirted, tube transparent, cap natural, graduated, CE/IVD | 250 | 1 | 34.8 | Nerbe | 08-222-2000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
08-411-6000 | Inner container PS for sputum complete system, 24ml, Ø70x23mm, with fitted screw cap PE, container transparent, cap natural, sterile R, | 200 | 1 | 92.4 | Nerbe | 08-411-6000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
08-422-1000 | Outer container PP for sputum complete system, 24ml, Ø79x28mm, with enclosed lid PE, container natural, lid yellow | 100 | 1 | 37.3 | Nerbe | 08-422-1000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
08-502-4803 | EXACTOBAC-U®, with fitted screw cap PE, 10ml, urine transport tube PP, Ø16x100 mm, with label, with lyophilized urine stabilizer, tube | 1000 | 1 | 378.08 | Nerbe | 08-502-4803 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
08-512-4003 | EXACTOBAC-U® urisog, with fitted screw cap PE, 10ml, urisog, tube PP Ø14,5x101 mm, with lyophilized urine stabilizer, tube transparent, | 1000 | 1 | 557.47 | Nerbe | 08-512-4003 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
08-522-4003 | EXACTOBAC-U®, with fitted screw cap PE, 20ml, urine transport tube PP, Ø25x107 mm, with label, with lyophilised urine stabilizer, skirted, max. | 500 | 1 | 254.81 | Nerbe | 08-522-4003 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
08-541-0005 | EXACTOBAC-L®, 10ml, milk specimen tube PS, Ø16x100 mm, with fitted ribbed plug PE, with lyophilised bacteriostat, tube transparent, plug | 2000 | 1 | 522.96 | Nerbe | 08-541-0005 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
08-552-0005 | EXACTOBAC-L®, 10ml, milk specimen tube PP, Ø16x100 mm, with fitted screw cap PE, with lyophilised bacteriostat, tube transparent, cap | 1000 | 1 | 298.93 | Nerbe | 08-552-0005 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
08-602-1254 | Universal container PP, 125ml, Ø55x72 mm, with enclosed screw cap PE, container transparent, cap green, graduated, with writing area, np pcr | 500 | 1 | 44.9 | Nerbe | 08-602-1254 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
08-602-1903 | Universal container PP, 125ml, Ø55x72 mm, with enclosed screw cap PE, container transparent, cap red, graduated, with writing area, np pcr | 500 | 1 | 69.42 | Nerbe | 08-602-1903 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
08-602-6041 | Universal container PP, 125ml, Ø55x72 mm, with fitted screw cap PE, container transparent, cap blue, grad., writing area, np pcr ready, sterile | 250 | 1 | 42.68 | Nerbe | 08-602-6041 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
08-602-6042 | Universal container PP, 125ml, Ø55x72 mm, with fitted screw cap PE, container transp., cap red, grad., writing area, np pcr ready, sterile R, | 240 | 1 | 30.24 | Nerbe | 08-602-6042 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
08-602-6043 | Universal container PP, 125ml, Ø55x72mm, fitted screw cap PE, 5pcs/bag, container transp., cap yellow, grad., writing area, np pcr ready, | 5 | 1 | 1 | Nerbe | 08-602-6043 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
08-602-7054 | Universal container PP, 125ml, Ø55x72mm, fitted screw cap PE and label, container transp., cap yellow, grad., np pcr ready, sterile R, Autocl. | 240 | 1 | 37.24 | Nerbe | 08-602-7054 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
08-602-8051 | Universal container PP, 125ml, Ø55x72mm, fitted screw cap PE, indiv. packed, container transp., cap red, grad., writing area, np pcr ready, | 200 | 1 | 30.32 | Nerbe | 08-602-8051 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
08-622-1902 | Universal container PP, 125ml, Ø50x68 mm, with lid PE with spout, container transparent, lid redgraduated, with writing area, CE/IVD | 50 | 1 | 6.57 | Nerbe | 08-622-1902 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-001-0010 | Petri dish PS, Ø55x14,2 mm, without vents, transparent, sterile | 15 | 1 | 2.5 | Nerbe | 09-001-0010 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-011-0010 | Petri dish PS, Ø55x14,2 mm, with 3 vents, transparent, sterile | 15 | 1 | 1.6 | Nerbe | 09-011-0010 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-021-0010 | Petri dish PS, Ø92x16 mm, without vents, (non slippery / stackable), transparent, sterile | 20 | 1 | 2.6 | Nerbe | 09-021-0010 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-021-0020 | Petri dish PS, Ø90x16,2 mm, without vents, (non slippery / stackable), transparent, sterile | 20 | 1 | 2.5 | Nerbe | 09-021-0020 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-031-0020 | Petri dish PS, Ø90x16,2 mm, with 3 vents, (non slippery / stackable), transparent, sterile | 20 | 1 | 2.5 | Nerbe | 09-031-0020 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-031-0030 | Petri dish PS, Ø90x16,2 mm, with 3 vents, (non slippery / stackable), transparent, sterile | 20 | 1 | 2.5 | Nerbe | 09-031-0030 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-051-0010 | Petri dish PS, Ø140x20 mm, without vents, transparent, sterile | 10 | 1 | 4.5 | Nerbe | 09-051-0010 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-061-0010 | Petri dish PS, Ø140x20 mm, with 3 vents, transparent, sterile | 10 | 1 | 4.5 | Nerbe | 09-061-0010 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-061-5010 | Petri dish PS, Ø140x20 mm, with 3 vents, transparent, sterile R | 10 | 1 | 5.5 | Nerbe | 09-061-5010 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-081-0010 | Contact plate PS, Ø65x14,5 mm, with 4 vents, transparent, sterile | 18 | 1 | 4.7 | Nerbe | 09-081-0010 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-101-0050 | Petri dish, PS, 92 x 16 mm half division, with 3 vents | 20 | 1 | 4 | Nerbe | 09-101-0050 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-101-0051 | Petri dish PS, Ø92x14,2 mm, with 3 vents, half division, transparent, sterile | 25 | 1 | 5 | Nerbe | 09-101-0051 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-231-0000 | Petri dish PS, Ø120x120x16 mm, with 4 vents, transparent, sterile | 14 | 1 | 8.5 | Nerbe | 09-231-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-302-0020 | Autoclavable bag CPP, 200x300 mm, thickness: 50µmnatural, autoclavable up to 134°C | 1000 | 1 | 63.19 | Nerbe | 09-302-0020 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-312-0000 | Autoclavable bag PP, 300x500 mm, thickness: 50µm, natural, autoclavable up to 134°C | 1000 | 1 | 208.24 | Nerbe | 09-312-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-322-0000 | Autoclavable bag PP, 400x800 mm, thickness: 50µm, natural, autoclavable up to 134°C | 250 | 1 | 89.45 | Nerbe | 09-322-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-332-0000 | Autoclavable bag PP, 400x500 mm, thickness: 50µm, natural, autoclavable up to 134°C | 250 | 1 | 67.01 | Nerbe | 09-332-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-342-0000 | Autoclavable bag PP, 500x800 mm, thickness: 50µm, natural, autoclavable up to 134°C | 250 | 1 | 95.31 | Nerbe | 09-342-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-342-0070 | Autoclavable bag PP, 500x800 mm, thickness: 70µm, natural, autoclavable up to 134°C | 350 | 1 | 133.44 | Nerbe | 09-342-0070 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-352-0000 | Autoclavable bag PP, 600x800 mm, thickness: 50µm, natural, autoclavable up to 134°C | 250 | 1 | 96.78 | Nerbe | 09-352-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-352-0071 | Autoclavable bag PP, 600x800 mm, thickness: 70µm, printed with "biohazard", natural, autoclavable up to 134°C | 400 | 1 | 263.84 | Nerbe | 09-352-0071 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-362-0000 | Autoclavable bag PP, 600x960 mm, thickness: 50µm, natural, autoclavable up to 134°C | 250 | 1 | 142.97 | Nerbe | 09-362-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-372-0000 | Autoclavable bag PP, 700x1.100 mm, thickness: 50µmnatural, autocl. up to 134°C | 200 | 1 | 147.81 | Nerbe | 09-372-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-382-0000 | Sterilization double bag PP/LDPE, 37 liter, 600x900mm, thickness: 150 µm, outer bag transparent, inner bag yellow, autocl. up to | 100 | 1 | 392.53 | Nerbe | 09-382-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-385-0000 | Security closure PA, for sterilisation double bag 09-382-0000, natural, autoclavable | 1000 | 1 | 107.51 | Nerbe | 09-385-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-400-5061 | Inoculating loop/needle PS, 1µl, rigid, Ø4x200 mm, 20pcs/peel-pack, dark green, np pcr ready, sterile R | 1000 | 1 | 45.41 | Nerbe | 09-400-5061 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-401-5001 | Inoculating loop/needle PS, 1µl, flexible, Ø4x200 mm, 20pcs/peel-pack, light green, np pcr ready, sterile R | 1000 | 1 | 45.41 | Nerbe | 09-401-5001 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-420-5061 | Inoculating loop/needle PS, 10µl, rigid, Ø4x200 mm, 20pcs/peel-pack, dark blue, np pcr ready, sterile R | 1000 | 1 | 45.41 | Nerbe | 09-420-5061 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-421-5065 | Inoculating loop/needle PS, 10µl, flexible, Ø4x200 mm, 20pcs/peel-pack, light blue, np pcr ready, sterile R | 1000 | 1 | 45.41 | Nerbe | 09-421-5065 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-509-5000 | Test tube PP with fitted screw cap PE, 12ml, Ø16x100 mm, with wooden applicator with cotton titube transparent, cap blue, graduated, sterile R | 100 | 1 | 39.06 | Nerbe | 09-509-5000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-511-5007 | Culture swab, without transport medium, flexible PS stick with viscose tip, color code white, np pcr ready, sterile R, CE/IVD | 2000 | 1 | 1300.84 | Nerbe | 09-511-5007 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-511-5017 | Culture swab, without transport medium, flexible PS stick with viscose tip, color code white, np pcr ready, sterile R, CE/IVD | 2000 | 1 | 1300.84 | Nerbe | 09-511-5017 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-516-5009 | Culture swab, without transport medium, aluminium stick with viscose tip, color code orange, np pcr ready, sterile R, CE/IVD | 2000 | 1 | 516.46 | Nerbe | 09-516-5009 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-551-8066 | Transport swab with amies medium, flexible PS stick with viscose tip, color code blue, single peel-pack, np pcr ready, sterile R, CE/IVD | 1200 | 1 | 357.78 | Nerbe | 09-551-8066 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-556-8056 | Transport swab with amies medium, aluminium stick with viscose tip, color code orange, single peel-pack, np pcr ready, sterile R, CE/IVD | 1200 | 1 | 410.29 | Nerbe | 09-556-8056 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-561-8067 | Transport swab with amies charcoal medium, PS stick with viscose tip, color code black, single peel-pack, np pcr ready, sterile R, CE/IVD | 1200 | 1 | 217.9 | Nerbe | 09-561-8067 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-613-5001 | Blender bags PE, 400ml, 180x300 mm, without filter, 25 pcs/bag, transparent, np pcr ready, sterile R, autoclavable up to 121°C | 500 | 1 | 41 | Nerbe | 09-613-5001 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-613-5031 | Blender bags PE, 400ml, 190x300 mm, full filter, 25 pcs/bag, transparent, np pcr ready, sterile R | 500 | 1 | 158.8 | Nerbe | 09-613-5031 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-613-5041 | Blender bags PE, 400ml, 190x300 mm, lateral filter, 25 pcs/bag, transparent, np pcr ready, sterile R | 500 | 1 | 158.8 | Nerbe | 09-613-5041 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-623-5000 | Blender bags PE, 3.500ml, 380x510 mm, without filter, 25 pcs/bag, transparent, np pcr ready, sterile R | 100 | 1 | 32.03 | Nerbe | 09-623-5000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-681-0000 | Closing-Clip PVC, for blender bags 400ml, 50 pcs/bag, blue | 200 | 1 | 210.59 | Nerbe | 09-681-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-703-5000 | Wire closure bags PE, 540ml, 114x230 mm, transparent, sterile R | 500 | 1 | 158.64 | Nerbe | 09-703-5000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-723-5000 | Wire closure bags PE, 1.260ml, 140x380 mm, transparent, sterile R | 500 | 1 | 261.64 | Nerbe | 09-723-5000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-733-5000 | Wire closure bags PE, 1.650ml, 178x305 mm, transparent, sterile R | 250 | 1 | 177.47 | Nerbe | 09-733-5000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-812-8052 | PS stick with small viscose tip, Ø2,5x150mm, single peel-pack, np pcr ready, sterile EO, CE2797 | 100 | 1 | 9.5 | Nerbe | 09-812-8052 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-812-8062 | PS stick with big viscose tip, Ø2,5x150mm, single peel-pack, np pcr ready, sterile EO, CE2797 | 100 | 1 | 10 | Nerbe | 09-812-8062 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-819-0102 | Wooden applicator with small cotton tip, Ø2,2x150mm, np pcr ready, CE | 100 | 1 | 1 | Nerbe | 09-819-0102 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-819-0110 | Wooden applicator with small cotton tip, Ø2,2x230mm, np pcr ready, CE | 100 | 1 | 1 | Nerbe | 09-819-0110 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
09-819-8002 | Wooden applicator with small cotton tip, Ø2,2x150mm, single peel-pack, np pcr ready, sterile EO, CE | 100 | 1 | 6 | Nerbe | 09-819-8002 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
10-101-0000 | Micro test plate PS, 96 wells, 0,3ml, U-shape, SLAS/ANSI 1 & 4, highly transparent, np pcr readymax. RCF 4.500g | 5 | 1 | 3 | Nerbe | 10-101-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
10-101-0030 | Micro test plate PS, 96 cavities U-shape,0,3 ml/cavity, 4.500g | 5 | 1 | 5 | Nerbe | 10-101-0030 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
10-111-0000 | Micro test plate PS, 96 wells, 0,3ml, V-shape, SLAS/ANSI 1 & 4, highly transparent, np pcr readymax. RCF 4.500g | 5 | 1 | 3.51 | Nerbe | 10-111-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
10-121-0000 | Micro test plate PS, 96 wells, 0,3ml, F-shape, SLAS/ANSI 1 & 4, highly transparent, np pcr readymax. RCF 4.500g | 5 | 1 | 3.5 | Nerbe | 10-121-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
10-122-0100 | Micro test plate PP, 96 wells, 0,275ml, F-shape, 126,55x84,72 mm, transparent, np pcr ready, max. RCF 4.000g, autoclavable | 10 | 1 | 11.85 | Nerbe | 10-122-0100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
10-131-0000 | Lid PS for micro test plate 96 wells, highly transparent, np pcr ready | 5 | 1 | 3 | Nerbe | 10-131-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-062-1000 | Mailing container PE, 34x34x85 mm, with absorbing inlay, with enclosed cap PE, natural | 500 | 1 | 384.69 | Nerbe | 11-062-1000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-162-0100 | Mailing container PP, 60ml, Ø30x126 mm, with absorbing inlay, screw thread and print according to EN 829, without cap, natural, | 300 | 1 | 108.71 | Nerbe | 11-162-0100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-163-0100 | Screw cap HDPE, for mailing container 30x126mm, with rim, natural | 300 | 1 | 22.18 | Nerbe | 11-163-0100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-222-0100 | Mailing container PP, 50ml, Ø44x114 mm, with absorbing inlay, screw thread and print according to EN 829, without cap, natural, | 250 | 1 | 119.41 | Nerbe | 11-222-0100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-223-0100 | Screw cap HDPE, for mailing container 44x114mm, with rim, natural | 250 | 1 | 24.44 | Nerbe | 11-223-0100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-243-1100 | Mailing container PE, 30x30x184 mm, with absorbing inlay and enclosed screw cap PE, for swabs, natural | 375 | 1 | 326.14 | Nerbe | 11-243-1100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-272-2100 | Mailing container PE, Ø29x85 mm, for 2 microscope slides, natural | 500 | 1 | 134.28 | Nerbe | 11-272-2100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-532-2101 | Screw cap container PP, 60ml, Ø35x70 mm, with fitted screw cap PE, container transparent, cap green, sterile | 70 | 1 | 12.38 | Nerbe | 11-532-2101 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-582-2101 | Screw cap container PP, 180 ml, Ø50x100 mm, with fitted screw cap PE, container transparent, cap green, sterile | 264 | 1 | 111.4 | Nerbe | 11-582-2101 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-622-0000 | Screw cap container PP, 20ml, Ø31x48 mm, with enclosed screw cap PE, container transparent, cap natural | 1000 | 1 | 122.05 | Nerbe | 11-622-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-632-0000 | Screw cap container PP, 35ml, Ø39x55 mm, with enclosed screw cap PE, container transparent, cap natural | 500 | 1 | 100.4 | Nerbe | 11-632-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-642-0000 | Screw cap container PP, 50ml, Ø39x74 mm, with enclosed screw cap PE, container transparent, cap natural | 500 | 1 | 58.72 | Nerbe | 11-642-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-652-0000 | Screw cap container PP, 100ml, Ø48x80 mm, with enclosed screw cap PE, container transparent, cap natural | 250 | 1 | 52.78 | Nerbe | 11-652-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-702-1010 | Screw cap container PP, 500ml, Ø90x91 mm, with fitted screw cap PP, with PE-pad, white, autoclavable up to 121°C (without pad) | 72 | 1 | 111.22 | Nerbe | 11-702-1010 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-712-1010 | Screw cap container PP, 1.250ml, Ø106x159 mm, with fitted screw cap PE, with EPE-pad, white, autoclavable up to 121°C (without pad) | 35 | 1 | 105.57 | Nerbe | 11-712-1010 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-802-1150 | Multi purpose container PP, 200ml, Ø66x88 mm, with enclosed snap-on lid PE, transparent, graduated | 660 | 1 | 139.42 | Nerbe | 11-802-1150 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-802-6100 | Multi purpose container PP, 200ml, Ø66x88 mm, with fitted snap-on lid PE , transparent, graduated, sterile R | 220 | 1 | 93.07 | Nerbe | 11-802-6100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-852-0100 | Multi purpose container PP, 30ml, Ø38x42 mm, transparent, graduated, autoclavable up to 121°C | 75 | 1 | 1.36 | Nerbe | 11-852-0100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-853-0100 | Lid PE for multi purpose container 11-852-0100, white | 3750 | 1 | 77.08 | Nerbe | 11-853-0100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-871-0000 | Drosophila vial PS, 20ml, Ø20x60 mm, flat bottom, highly transparent | 2000 | 1 | 184.36 | Nerbe | 11-871-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-881-0021 | Drosophila vial PS, 30ml, Ø25x95 mm, flat bottom, highly transparent | 500 | 1 | 51.42 | Nerbe | 11-881-0021 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-881-0022 | Drosophila Vial PS, 30 ml, 25 x 95 mm, flat bottomin trays of 100 | 100 | 1 | 13.87 | Nerbe | 11-881-0022 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-881-0051 | Drosophila vial PS, 50ml, Ø28,5x95 mm, flat bottomhighly transparent | 500 | 1 | 64.1 | Nerbe | 11-881-0051 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-881-1000 | Foam stopper for drosophila vial Ø 25 and 29 mm, Ø30x30 mm, white | 3000 | 1 | 377.77 | Nerbe | 11-881-1000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-881-1001 | Foam stopper for drosophila vial Ø 25 and 29 mm, Ø30x25 mm, mite-proof | 2500 | 1 | 700.44 | Nerbe | 11-881-1001 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-881-1010 | Cellulose stopper for drosophila vial Ø 29 mm, Ø30x30 mm, white | 1000 | 1 | 153.86 | Nerbe | 11-881-1010 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-902-2100 | Hinged lid container PP, 50ml, Ø33x80 mm, naturalMoulded rings every 10 ml, writing area, np pcr ready, autoclavable up to 121°C | 650 | 1 | 100.01 | Nerbe | 11-902-2100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-912-2100 | Hinged lid container PP, 80 ml, Ø45x80 mm, transparent, graduated at 80 ml, writing area, np pcr ready, autoclavable up to 121°C | 350 | 1 | 53.85 | Nerbe | 11-912-2100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-931-6000 | Flip top container PP, 10ml, Ø21x54 mm, flat bottom, natural, np pcr ready, sterile R, autoclavable up to 121°C | 500 | 1 | 100.02 | Nerbe | 11-931-6000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-952-6000 | Flip top container PP, 50ml, Ø29x85 mm, flat bottom, natural, np pcr ready, sterile R, autoclavable up to 121°C | 600 | 1 | 125.07 | Nerbe | 11-952-6000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-972-6000 | Flip top container PP, 120ml, Ø62x53 mm, flat bottom, natural, graduated, np pcr ready, sterile R, autoclavable up to 121°C | 250 | 1 | 124.65 | Nerbe | 11-972-6000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
11-982-6000 | Flip top container PP, 270ml, Ø65x76 mm, flat bottom, natural, graduated, np pcr ready, sterile R, autoclavable up to 121°C | 120 | 1 | 66.3 | Nerbe | 11-982-6000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-023-0155 | Transfer pipette PE, 1ml, with micro tip, length 150 mm, transparent | 500 | 1 | 74.11 | Nerbe | 12-023-0155 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-063-0155 | Transfer pipette PE, 5ml, length 210 mm, transparent, grad. | 100 | 1 | 8.61 | Nerbe | 12-063-0155 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-103-0055 | Transfer pipette PE, 1ml, length 158 mm, transparent, grad. | 500 | 1 | 11.52 | Nerbe | 12-103-0055 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-103-0055 | Transfer pipette PE, 1ml, length 158 mm, transparent, grad. | 500 | 1 | 11.52 | Nerbe | 12-103-0055 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-103-8100 | Transfer pipette PE, 1ml, single packed, length 150 mm, transparent, grad., sterile R | 1700 | 1 | 167.93 | Nerbe | 12-103-8100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-113-0055 | Transfer pipette PE, 3ml, length 160 mm, transparent, grad. | 500 | 1 | 11.71 | Nerbe | 12-113-0055 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-113-8100 | Transfer pipette PE, 3ml, single packed, length 150 mm, transparent, grad., sterile R | 1500 | 1 | 148.18 | Nerbe | 12-113-8100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-123-0100 | Transfer pipette PE, 1,5ml, length 230 mm, transparent, grad. | 2400 | 1 | 209.03 | Nerbe | 12-123-0100 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-250-5000 | Straw pipette PP, 1ml, Ø4,5x190 mm, 25 pcs/bag, transparent, sterile R | 1000 | 1 | 87.1 | Nerbe | 12-250-5000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-331-6103 | Demeter pipette PS, 2,2ml, 25 pcs/bag, transparent, color code: green, grad., np pcr ready, sterile R | 25 | 1 | 3.42 | Nerbe | 12-331-6103 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-401-6103 | Serological pipette PS, 1ml, 25 pcs/bag, transparent, color code: yellow, grad., np pcr ready, sterile R | 25 | 1 | 2.51 | Nerbe | 12-401-6103 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-401-9103 | Serological pipette PS, 1ml, single peel-pack, transparent, color code: yellow, grad., np pcr ready, sterile R | 500 | 1 | 63.02 | Nerbe | 12-401-9103 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-421-6101 | Serological pipette PS, 2ml, 25 pcs/bag, transparent, color code: green, grad., np pcr ready, sterile R | 25 | 1 | 2.72 | Nerbe | 12-421-6101 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-421-9101 | Serological pipette PS, 2ml, single peel-pack, transparent, color code: green, grad., np pcr ready, sterile R | 500 | 1 | 60.35 | Nerbe | 12-421-9101 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-441-6105 | Serological pipette PS, 5ml, 25 pcs/bag, transparent, color code: blue, grad., np pcr ready, sterile R | 25 | 1 | 3.56 | Nerbe | 12-441-6105 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-441-7105 | Serological pipette PS, 5ml, short, single peel-pack, transparent, color code: blue, grad., np pcr ready, sterile R | 50 | 1 | 10.28 | Nerbe | 12-441-7105 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-441-9105 | Serological pipette PS, 5ml, single peel-pack, transparent, color code: blue, grad., np pcr ready, sterile R | 200 | 1 | 44.66 | Nerbe | 12-441-9105 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-461-6108 | Serological pipette PS, 10ml, 25 pcs/bag, transparent, color code: orange, grad., np pcr ready, sterile R | 25 | 1 | 3.93 | Nerbe | 12-461-6108 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-461-7108 | Serological pipette PS, 10ml, short, single peel-pack, transparent, color code: orange, grad.np pcr ready, sterile R | 25 | 1 | 5.8 | Nerbe | 12-461-7108 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-461-9108 | Serological pipette PS, 10ml, single peel-pack, transparent, color code: orange, grad., np pcr ready, sterile R | 200 | 1 | 40.56 | Nerbe | 12-461-9108 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-471-8108 | Serological pipette PS, 10ml, big orifice, 25pcs/bag, transparent, color code: orange, grad.np pcr ready, sterile R | 25 | 1 | 5.07 | Nerbe | 12-471-8108 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-481-7105 | Serological pipette PS, 25ml, short, single peel-pack, transparent, color code: red, grad., np pcr ready, sterile R | 25 | 1 | 10.66 | Nerbe | 12-481-7105 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-481-9102 | Serological pipette PS, 25ml, single peel-pack, transparent, color code: red, grad., np pcr ready, sterile R | 150 | 1 | 64.2 | Nerbe | 12-481-9102 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-491-9102 | Serological pipette PS, 50ml, single peel-pack, transparent, color code: violet, grad., np pcr ready, sterile R | 100 | 1 | 65.15 | Nerbe | 12-491-9102 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-521-0000 | Stirring spatula PS, Ø3x120mm, highly transparent | 500 | 1 | 8.14 | Nerbe | 12-521-0000 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-521-9101 | Aspirating pipette PS, 2ml, single peel-pack, transparent, np pcr ready, sterile R | 50 | 1 | 5.8 | Nerbe | 12-521-9101 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
12-531-6106 | Spreader PS, Ø3,5x145 mm, width 38 mm, L-shaped, 5 pcs/bag, white, sterile R | 400 | 1 | 36.69 | Nerbe | 12-531-6106 | https://www.nerbe-plus.de/ENU/14723/Home.aspx
| VISO be PVM | 44729.03
| 21 % PVM | 9393.1
| VISO su PVM | 54122.13