Olympus MU988800

Olympus MU9888 equivalent 12V 20W Analyzer Lamp Assembly w Wire Leads, Spade Terminals.

Manufacturer Olympus

Part #MU988800

Volts 12

Watts 20

Life Hours 2000 (Lab Rated)   Darbo laikas 2000 valandų (Lab įvertinta)

Kelvin Color2850

Fill Gas Halogen

Bulb Finish Clear

Bulb Shape T3.5

Base Flanged Housing w/ Wire Leads, Spade Terminals