Dispatchers Training Services

- INTRODUCTION

  - COMMISSION REGULATION (EU) 2017/1485 of 2 August 2017 (hereinafter "Regulation") establishing a guideline on electricity transmission system operation requires to set the rules for training and certification of system operator employees, as well as ensure cooperation between TSOs on trainings for employees in charge of real time operation including joint training workshops and joint simulator training sessions.

  - For achieving the mentioned tasks, training services (hereinafter "Services") shall be procured for the Litgrid employees in charge of real-time power system operation.

  - Dispatcher Training Services Provider (hereinafter the "Contractor") shall comply with the requirements set out in this document.

- REQUIREMENTS FOR THE TRAINING SCENARIOS

  - Training sessions shall be developed for joint dispatcher training with aim to develop operational and communicational skills.

  - Training scenarios shall be prepared together by Litgrid AB and the Contractor.

  - The training scenarios shall be applicable for normal, emergency and restoration system states.

  - Before the training session is commenced the Contractor shall introduce participants to the Dispatcher training simulator, its functionality, communication equipment and the general setup of the training session.

- REQUIREMENTS FOR THE TRAININGS

  - The training sessions shall be held at the training facilities administered by the Contractor.

  - Training language shall be English.

  - The training session may be conducted together with participants of transmission system operators of Poland, Lithuania, Latvia and Estonia.

  - Contractor shall have inhouse facilities with dedicated software and hardware required to simulate Operator working environment (computers, monitors, communication equipment etc.)

  - Litgrid AB shall delegate the maximum of 3 (three) trainees for each training session. Additionally the Contractor shall allow at least 1 (one) internal trainer to attend and monitor the training session.

  - The Contractor shall assign at least one training coordinator with responsibility to moderate and support the training sessions.

  - Training session shall end with a discussion between the training coordinator(-s) and participants.

  - Total duration of the training session shall be at a maximum 2 (two) working days.

  - After the completion of the training session the Contractor shall provide training report.

  - After the completion of the training session the Contractor shall provide training completion certificates for each trainee.

- OTHER REQUIREMENTS

  - Travel and accommodation costs for the Customer´s personnel shall not be included to the final offer by the Contractor.

- TIME SCHEDULE AND ORGANIZATIONAL ISSUES

  - The cost of training is calculated based on the list of signed-up participants and duration of the training session. The Contractor shall provide his offer with the price per 1 (one) trainee per 1 (one) working day.

  - Litgrid AB, the Contractor and other training participants shall agree on date and time of the training sessions.

  - 30 days prior to training session Litgrid AB will provide an order form with training session date, number of participants and the list of participants included. The form can be found in Appendix 1 of this document.

  - Litgrid AB and the Contractor are entitled to change the training date within 14 days before the agreed training date, if there are reasonable grounds for doing so. In such case, Parties are obliged to reach an agreement on the new date, time of the training.

  - Litgrid AB procures services for performance of maximum of 4 (four) training sessions.

  - The Contractor agrees to organize maximum of 4 (four) training sessions.

  - Litgrid AB and Contractor agrees to organize and perform training sessions in time frame starting the day of signing of the service contract till 2024-12-31.

| Subject area of the training |  |  |  |
| --- | --- | --- | --- |
| Training language |  |  |  |
| Date of training session: |  | Number of participants: |  |
| Training session hours: |  |  |  |
| Training duration (working days): |  |  |  |
| Training location: |  |  |  |
| Cost of training session (neto): |  |  |  |

Order form

Training information

Participants of Training

| No | Name and surname | Person receiving training / instructor | Training date |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |