##### DIACOMP® PLUS RA - Set RA 342

×

Diamond impregnatedBestseller

Item No.

9086

Area of use

Composite, Hybrid Ceramic

Grit

fine, medium

Packaging unit

6

MPK (EU)

IIa

RPM (min-1)

3.000 - 8.000

RPM max. (min-1)

20.000

Diamond impregnated

yes

Packaging

Set

Bestseller

yes

Shape

TWIST

Set content

3 × DT-DCP14m (6184)
3 × DT-DCP14f (6284