## Sheet1
Packing list
Description |  | MT8530L Motorized microscope
Packing list № |  |  | S/N
Item | № | Description | Q-ty | Packing | Remarks
| 1 | MT8530L microscope stand | 1
| 2 | Trinocular head | 1
| 3 | Eyepiece block | 1
| 4 | SWH 10x, F. N. 22 mm eyepiece | 2
| 5 | Eyepiece eyecup | 2
| 6 | Condenser for MT8500 microscope | 1
| 7 | Vertical illuminator | 1
| 8 | Power supply for illluminator | 1
| 9 | Blue filter | 1
| 10 | Green filter | 1
| 11 | Polarization filter | 1
| 12 | Neutral density filter | 1
| 13 | Motorized 3-level stage | 1
| 14 | MA motorized focus drive | 1
| 15 | Adapter plate for focus drive (two plates, steel pin, screw) | 1
| 16 | Retaining ring for focus drive | 1
| 17 | Spring-loaded coupling with two screws | 1
| 18 | Tango 3-axis controller | 1
| 19 | 3-axis joystick | 1
| 20 | PC | 1
| 21 | Monitor | 1
| 22 | Keyboard | 1
| 23 | Mouse | 1
| 24 | Mouse pad | 1
| 25 | Microscope dust cover | 1
| 26 | Object micrometer | 1
| 27 | 3-axis motor cable | 1
| 28 | Power cable | 3
| 29 | Surge protector | 1
| 30 | Countersunk screw M3x6 DIN 7991 for focus drive | 2
| 31 | Allen screw M3x8 DIN 912 for stage | 4
| 32 | Screw kit (SW 3.0, 2.5, 2.0, 1.5, 1.3) | 1
| 33 | Plan Epi Objective BD 5x/0.10 | 1
| 34 | Plan Epi Objective BD 10x/0.25 | 1
| 35 | Plan Epi Objective BD 20x/0.40 | 1
| 36 | Plan Epi Objective BD 50x/0.75 | 1
| 37 | Optical С-mount 0.5x | 1
| 38 | Digital camera CAM V3200 | 1
| 39 | Camera power supply | 1
| 40 | Camera power extension cord | 1
| 41 | Camera USB cable | 1
| 42 | User manual | 1
| 43 | Packing list | 1
Additional order |  | MA818
MA819
MA506
MA542
MA738
MA280
MA283
MA539
MA989 100X objektyvas
Viewing Heads:
Product: | Description:
MA957 | Ergonomic tilting binocular head – Adjustable vertically from 10 to 50 degrees. Erect Image.
MA958 | Photo / video attachment with sliding 80/20 beam-splitter for use when ergonomic head is used.
Eyepieces with 30.0mm O.D. Tube:
Product: | Description:
MA817 | SWH10X, Widefield high eyepoint eyepiece, Field No. 22, Tube O.D. 30.0mm (ea). (Included in MT5000, 6000, 7000, 8000 series)
MA818 | SWH15X, Widefield high eyepoint eyepiece, Field No. 16.0, Tube O.D. 30.0mm (ea), takes 19mm micrometers.
MA819 | SWH20X, Widefield high eyepoint eyepiece, Field No. 12.0, Tube O.D. 30.0mm (ea), takes 19mm micrometers.
MA859 | SWH10X-F Focusing eyepiece with reticle mount (without reticle), Tube O.D. 30.0mm (ea)
Filters:
Product: | Description:
MA475-05 | Blue clear filter, 20mm diameter in metal mount
MA476 | Green clear filter, 20mm diameter in metal mount
MA497 | Polarising filter 20mm diameter in metal mount
MA774 | ND50 Neutral density filter, 20mm diamter in metal mount
Eyepiece Micrometers (19mm Diameter):
Product: | Description:
MA279 | Eyepiece micrometer, cross-line reticule, 19mm diameter
MA280 | Eyepiece micrometer, 10mm divided into 100 units, 19mm diameter
MA281 | Eyepiece micrometer, 5mm divided into 100 units, 19mm diameter
MA283 | Eyepiece micrometer, 10mm square into 100 parts, 1.0mm square, 19mm diameter
MA539 | Eyepiece micrometer, cross-line reticule with 0.1mm graduations, 19mm diameter
Eyepiece Micrometers (25mm Diameter):
Product: | Description:
MA506 | 10mm divided into 100 units, 25mm diameter
MA509 | 5mm divided into 100 units, 25mm diameter
MA510 | 10mm square into 100 parts, 1.0mm square, 25mm diameter
MA523 | Cross-line reticle, 25mm diameter
MA542 | Cross-line with 0.1mm graduation, 25mm diameter
MA738 | Eyepiece micrometer for grain sizing in steel, 25mm diameter.
(For use with MA817 or MA859 eyepieces)
Stage Micrometer:
Product: | Description:
MA292 | Polished metal stage micrometer, 0.01mm, for reflected light.
Misc:
Product: | Description:
MA275-05 | Spare bulb 12V 50W halogen lamp
MA326 | Spare bulb 6V 30W halogen lamp
MA327 | Spare Fuse 3A for Halogen illuminator version
MA711 | Dust cover.
MA906 | Eyeshield for MA817 SWH10X Eyepiece (ea) (Included in all models.)