Durable tip with outstanding shape retention

Possible to treat multiple lesions with one wire.

Advanced torque performance even in extreme tortuosity

Easier vessel selectivity, even after an acute angle.

Flexible shaft and atraumatic tip

Employ the wire in a variety of situations stess-free

| Product. | Catalog No.. | Diameter. | Usable Length. | Spring Coil Length. | Radiopaque Length. | Tip Shape. |
| --- | --- | --- | --- | --- | --- | --- |

| ASAHI SION | AHW14R001S. AHW14R301S. | 0.36mm (0.014inch). 0.36mm (0.014inch). | 180cm. 300cm. | 28cm. 28cm. | 3cm. 3cm. | Straight. Straight. |
| --- | --- | --- | --- | --- | --- | --- |

##### FRONTLINE CASES

ASAHI SION,
Route / PROWATER flex,
Rinato / PROWATER,Soft, Light,
Fielder, Fielder FC,
Fielder XT

##### TORTUOUS ANATOMY

ASAHI SION,
Route / PROWATER flex,
Fielder, Fielder FC,
Fielder XT

Grand Slam

ASAHI SION,
Fielder, Fielder FC,
Fielder XT

##### CONTROLLED DRILL

ULTIMATE bros 3
Miracle 3 / MIRACLE bros 3
Miracle 4.5 / MIRACLE bros 4.5
Miracle 6 / MIRACLE bros 6
Miracle 12 / MIRACLE bros 12
Intermediate / MEDIUM

##### PENETRATION TECHNIQUE

Conquest / CONFIANZA
Conquest Pro / CONFIANZA PRO
Conquest Pro 12 / CONFIANZA PRO 12
Miracle 12 / MIRACLE bros 12

##### SLIDING TECHNIQUE

Fielder, Fielder FC, Fielder XT

##### RETROGRADE APPROACH

Fielder, Fielder FC, Fielder XT

- ●Tip load ............................... 0.8 g

- ●Tip radiopacity .................... 3 cm

- ●SLIP COAT® coating over the spring coil

- ●PTFE coating over the shaft

First choice guidewire featuring a soft tip with good shaping memory and excellent guidewire trackability. Sufficient support for delivery of most interventional devices.

- ●Tip load ............................... 0.8 g

- ●Tip radiopacity .................... 3 cm

- ●SLIP COAT® coating over the spring coil

- ●PTFE coating over the shaft

First choice guidewire with floppy tip and moderate core wire support. Excellent maneuverability and good support for device delivery.

- ●Tip load ............................... 0.7 g

- ●Tip radiopacity .................... 3 cm

- ●PTFE coating over the shaft

Basic frontline guidewire with floppy tip and non hydrophilic coating to ensure optimal tactile feedback.

- ●Tip load ............................... 0.5 g

- ●Tip radiopacity .................... 3 cm

- ●PTFE coating over the shaft

Basic frontline guidewire with a flexible core and good torqueability for distal side branch selection.

- ●Tip load ............................... 1.0 g

- ●Tip radiopacity .................... 3 cm

- ●Polymer sleeve length ..... 22 cm

- ●SLIP COAT® coating over the spring coil

- ●PTFE coating over the shaft

A polymer sleeve guidewire, providing advanced slip performance and trackability.

- ●Tip load ............................... 0.8 g

- ●Tip radiopacity .................... 3 cm

- ●Polymer sleeve length ..... 20 cm

- ●SLIP COAT® coating over the spring coil

- ●PTFE coating over the shaft

Fine Control over challenging tortuous vessels and highly stenosed lesions. Polymer sleeve provides advanced slip performance with superior torque and support.

- ●Tip load ............................... 0.8 g

- ●Tip radiopacity .................. 16 cm

- ●Polymer sleeve length ..... 16 cm

- ●Tip outer diameter ...... 0.23 mm（0.009 inch）

- ●SLIP COAT® coating over the spring coil

- ●PTFE coating over the shaft

Polymer sleeve, providing excellent lubricity and trackability in tortuous vessels. The tapered tip provides extreme precision for the treatment of complex lesions such as sub-total occlusions and long diffused lesions.

- ●Tip load ............................... 0.7 g

- ●Tip radiopacity .................... 4 cm

- ●PTFE coating over the shaft

Stiff wire shaft provides extra support for delivery of interventional devices in extreme cases.

Compatible with all PTCA Guide Wires.
*Extension is「 ASAHI Extension Wire Extension」.

- ●Tip load ............................... 3.0 g

- ●Tip radiopacity .................... 3 cm

- ●PTFE coating over the shaft

First choice wire for chronic occlusion cases.

- ●Tip load ............................... 3.0 g

- ●Tip radiopacity .................. 11 cm

- ●PTFE coating over the shaft

First choice wire for chronic occlusion cases.The core wire and distal coil are designed to resist great force thus lowering the chances of getting trapped in a lesion.

- ●Tip load ............................... 4.5 g

- ●Tip radiopacity .................. 11 cm

- ●PTFE coating over the shaft

A step up in tip stiffness from the Miracle 3.

- ●Tip load ............................... 6.0 g

- ●Tip radiopacity .................. 11 cm

- ●PTFE coating over the shaft

A step up in tip stiffness from the Miracle 4.5. The wire has a tip load of 6g and has high driving force against tight lesions.

- ●Tip load ............................. 12.0 g

- ●Tip radiopacity .................. 11 cm

- ●PTFE coating over the shaft

A tip load of 12g. It is indicated for complex chronic occlusion cases such as thick, hard fibrous caps and calcification.

- ●Tip load ............................... 9.0 g

- ●Tip radiopacity .................. 20 cm

- ●Tip outer diameter ...... 0.009 inch (0.23 mm)

- ●PTFE coating over the shaft

Non hydrophilic coated and tapered to 0.009"(0.23mm) at the tip. The 9g stiff, tapered tip helps to engage micro channels and to penetrate highly stenosed lesions.

- ●Tip load ............................... 9.0 g

- ●Tip radiopacity .................. 20 cm

- ●Tip outer diameter ...... 0.23 mm (0.009 inch)

- ●SLIP COAT® coating over the spring coil

- ●PTFE coating over the shaft

Similar structure and tip stiffness as Conquest with SLIP COAT® coating for lubricity. The distal tip is not coated to allow it to catch on the entry point of the lesions.

- ●Tip load ............................. 12.0 g

- ●Tip radiopacity .................. 20 cm

- ●Tip outer diameter ...... 0.23 mm (0.009 inch)

- ●SLIP COAT® coating over the spring coil

- ●PTFE coating over the shaft

A tapered tip with 12g tip load. For penetration of calcification and proximal or distal thick, fibrous caps.

| Product. | Catalogue No.. | Diameter (inch (mm)). | Radiopaque Segment. | Spring Coil Length (cm). | Length (cm). | Tip Shape. |
| --- | --- | --- | --- | --- | --- | --- |

| ASAHI SION | AHW14R001S. AHW14R301S. | 0.36(0.014). 0.36(0.014). | 180. 300. | 28. 28. | 3. 3. | Straight. Straight. |
| --- | --- | --- | --- | --- | --- | --- |

| Route / PROWATER flex | AGH147000. AGH147300. AGH147000J. | 0.36（0.014）. 0.36（0.014）. 0.36（0.014）. | 3. 3. 3. | 20. 20. 20. | 180. 300. 180. | Straight. Straight. J. |
| --- | --- | --- | --- | --- | --- | --- |

| Rinato | AGH146000. AGH146300. AGH146000J. AGH146300J. | 0.36（0.014）. 0.36（0.014）. 0.36（0.014）. 0.36（0.014）. | 3. 3. 3. 3. | 20. 20. 20. 20. | 180. 300. 180. 300. | Straight. Straight. J. J. |
| --- | --- | --- | --- | --- | --- | --- |

| Soft | AG141000. AG141300. AG141000J. | 0.36（0.014）. 0.36（0.014）. 0.36（0.014）. | 3. 3. 3. | 30. 30. 30. | 180. 300. 180. | Straight. Straight. J. |
| --- | --- | --- | --- | --- | --- | --- |

| Light | AG145000. AG145300. AG145000J. | 0.36（0.014）. 0.36（0.014）. 0.36（0.014）. | 3. 3. 3. | 20. 20. 20. | 180. 300. 180. | Straight. Straight. J. |
| --- | --- | --- | --- | --- | --- | --- |

| Fielder | AGP140000. AGP140300. AGP140000J. | 0.36（0.014）. 0.36（0.014）. 0.36（0.014）. | 3. 3. 3. | 12. 12. 12. | 180. 300. 180. | Straight. Straight. J. |
| --- | --- | --- | --- | --- | --- | --- |

| Fielder FC | AGP140001. AGP140301. AGP140001J. | 0.36（0.014）. 0.36（0.014）. 0.36（0.014）. | 3. 3. 3. | 11. 11. 11. | 180. 300. 180. | Straight. Straight. J. |
| --- | --- | --- | --- | --- | --- | --- |

| Fielder XT | AGP140002. AGP140302. | 0.014 / 0.009 (0.23 / 0.36). 0.014 / 0.009 (0.23 / 0.36). | 16. 16. | 16. 16. | 190. 300. | Straight. Straight. |
| --- | --- | --- | --- | --- | --- | --- |

| Intermediate / MEDIUM | AG142000. AG142300. AG142000J. | 0.36（0.014）. 0.36（0.014）. 0.36（0.014）. | 3. 3. 3. | 30. 30. 30. | 180. 300. 180. | Straight. Straight. J. |
| --- | --- | --- | --- | --- | --- | --- |

| ULTIMATEbros 3 | AHW14S003S. AHW14S303S. AHW14S003J. AHW14S303J. | 0.36 （0.014）. 0.36 （0.014）. 0.36 （0.014）. 0.36 （0.014）. | 180. 300. 180. 300. | 11. 11. 11. 11. | 11. 11. 11. 11. | Straight. Straight. J-Tip. J-Tip. |
| --- | --- | --- | --- | --- | --- | --- |

| Miracle 3 / MIRACLE bros 3 | AG14M050. | 0.36（0.014）. | 11. | 11. | 180. | Straight. |
| --- | --- | --- | --- | --- | --- | --- |

| Miracle 4.5 / MIRACLE bros 4.5 | AG14M045. | 0.36（0.014）. | 11. | 11. | 180. | Straight. |
| --- | --- | --- | --- | --- | --- | --- |

| Miracle 6 / MIRACLE bros 6 | AG14M070. | 0.36（0.014）. | 11. | 11. | 180. | Straight. |
| --- | --- | --- | --- | --- | --- | --- |

| Miracle 12 / MIRACLE bros 12 | AG14M060. | 0.36（0.014）. | 11. | 11. | 180. | Straight. |
| --- | --- | --- | --- | --- | --- | --- |

| Conquest / CONFIANZA | AG143090. | 0.009 / 0.014 (0.23 / 0.36). | 20. | 20. | 180. | Straight. |
| --- | --- | --- | --- | --- | --- | --- |

| Conquest Pro / CONFIANZA PRO | AGH143090. | 0.009 / 0.014 (0.23 / 0.36). | 20. | 20. | 180. | Straight. |
| --- | --- | --- | --- | --- | --- | --- |

| Conquest Pro 12 / CONFIANZA PRO 12 | AGH143091. | 0.009 / 0.014 (0.23 / 0.36). | 20. | 20. | 180. | Straight. |
| --- | --- | --- | --- | --- | --- | --- |

| Grand Slam | AG141002. AG141302. AG141002J. | 0.36 (0.014). 0.36 (0.014). 0.36 (0.014). | 4. 4. 4. | 4. 4. 4. | 180. 300. 180. | Straight. Straight. J. |
| --- | --- | --- | --- | --- | --- | --- |

| *Extension | AG149001. | 0.36 (0.014). | －. | －. | 165. | －. |
| --- | --- | --- | --- | --- | --- | --- |

| ASAHI RG3 | AHW10S302S. | 0.26 （0.010）. | 330. | 8. | 3. | Straight. |
| --- | --- | --- | --- | --- | --- | --- |

- *Conquest Pro 8-20 is not CE approved.

- *Extension is「 ASAHI Extension Wire Extension」.

- Not all products and shapes are available in all markets. Please check availability with your sales representative.

- SLIP COAT® is a trademark of Angiotech Biocoatings Corporation.