[image: image1.png]% TOR VM




[image: image2.png]MATRIX PLIERS:

N1.154 Linear Plier Tines of L-Plier
1pc
N1.164 ::l;ss Plier Tines of G-Plier

C-Plier

e

CLEANING AND STERILIZATION INSTRUCTIONS:

1) Submerge instruments in cleaning agent solution with neutral pH for 20 min:
2) Rinse the instruments thoroughly with purified water for 3-5 min:
3) Perform standard moist heat / steam sterilization procedure following the sterilizer instructions.

WARNING!!!

1) Do not use cleaning agents with high percentage of chiorine and cleaners containing oxalic acid;
2) Do not keep instruments in liquid medium for more than 3 hours.





